RFB (Request for Bid) FOR EDGECOMBE COUNTY UTILITIES DEPARTMENT

Edgecombe County is seeking bids from qualified contractors to Replace Fire Hydrants and Isolation Valves in Edgecombe County Water & Sewer District No.6 (Town of Princeville). Bids are due December 20, 2024 at 10:00am. No bids will be accepted after this time. All bids should be submitted to:

Edgecombe County

Attn: Paul Moseley, Utilities Director

P.O. Box 10

201 St. Andrew St. – Room 149

Tarboro, NC 27886

Questions or Comments:

- All questions and/or comments shall be submitted in writing, no later than Tuesday December 10th, 2024 by 10:00am.

- Submit questions or comments to: paulmoseley@edgecombeco.com

Scope of Work:

The work shall include furnishing all equipment, implements, tools, materials, licenses, certifications, transportation, labor and supervision necessary for the prosecution and completion of the work and for any repairs that may occur during the work.

Bidder Qualifications:

Only bids from Contractors established in performing this type of service and qualified to handle jobs of this size may be considered. Prior to award, Edgecombe County reserves the right to investigate a bidder’s ability to fulfill the requirements of the contract. A list of at least three (3) references shall accompany each bid.

Performance of Work:

If the Contractor fails to perform the work as directed by this contract or fails to perform the work in a manner satisfactory to Edgecombe County, work may be performed by other forces as directed by Edgecombe County. The cost of work so performed will be deducted from any monies due the Contractor.

Inspection/Cancellation:

All work shall be subject to inspection by an Edgecombe County Inspector at any time. If the Contractor fails to keep the work on schedule, or performs unsatisfactory work, this contract may be canceled upon a fifteen (15) day written notice.

License and Certifications:

Contractor shall have an maintain all licenses and certifications required to perform any and all work associated with this contract for the entire duration of this contract. Edgecombe County reserves the right to review all licenses and certifications to ensure they are properly kept in good standing. Failure to maintain proper licenses and certifications will result in a breach of contract and will result in contract being voided immediately.

Insurance and Indemnity:

The Contractor shall indemnify and save harmless the County of Edgecombe and its officers, agents, and employees from all suits, actions or claims of any character brought for any injury or damages received or sustained by any person, persons, or property by reason any act or failure to act, of the contractor, its agents or employees, in the performance of the contract.

The Contractor shall furnish a Certificate of Liability Insurance indicating general liability coverage of at least $1,000,000.00 from an insurance company licensed to do business in the State of North Carolina along with Workman’s Compensation coverage, within ten (10) days after award of the bid.

Affirmative Action:

The Contractor will take affirmative action in complying with all Federal and State requirements concerning fair employment and employment of the handicapped and concerning the treatment of all employees without regard to discrimination by reason or race, color, religion, sex, national origin, or physical handicap.

The County invites and encourages participation in this procurement process by businesses owned by minorities, women, disabled and disabled business enterprises.

Description of Work:

Edgecombe County seeks to Replace thirteen (13) fire hydrants and install five (5) isolation valves throughout Water & Sewer District No.6 (Town of Princeville).

Because this work will be performed on an aging water system, with aging and brittle water lines, it is imperative that the Contractor have equipment on-site and be able to repair any busted or ruptured utilities caused by the installation and replacement of these hydrants and valves.

Contractor shall be responsible for locating all existing utilities and all needed work associated with this bid. Contractor shall also be responsible for repairing and/or replacement of any damages incurred while performing this work.

Bidder Qualifications:

In order for a bid to be accepted as an acceptable bid, bidder must:

- Provide proper licenses and certifications with bid proposal

- Provide three (3) references

- Provide proof that company is able to handle a job of this nature

- Provide a completed “Cost Proposal Sheet”

- Provide Bid by the appropriate bid date and time.

Any bid received that does not meet the above qualifications, will not be accepted.

COST PROPOSAL SHEET

- Replacement of thirteen (13) Fire Hydrants		$_____________________________

- Replacement of five (5) Isolation Valve/Valve Box $_____________________________

Total Bid	      				        $______________________________

____________________________________

(Company Name)

______________________________________________	________________________

(Signature)							(Date)