## Generator PM PriceSheet
ASSET | DESCRIPTION | LOCATION | BUILDINGS TIED TO | MAKE | MODEL/SERIAL# | POWER (KW) | AGE | FUEL TYPE | FUEL CAPACITY (GAL) | NO. OF ATS SWITCHES (see spreadsheet for detail) | NO. OF MTS SWITCHES | NO. OF ANNUNCIATORS | *PRICING - PER MINOR PM (3X PER YEAR) | *PRICING - PER MAJOR PM (1X PER YEAR) | *PRICING - ANNUAL TOTAL | *PRICING for Additional MINOR PM | *PRICING for Additional MAJOR PM | COMMENTS
0007871 | ADMINISTRATIVE ANNEX GENERATOR | ADMINISTRATIVE ANNEX | ADMN ANNEX ONLY | CATERPILLAR | C4.4/ CAT00C44TCN600455 | 100 | 2019 | DIESEL | 378 | 1 | 0 | 0 |  |  | 0
0008604 | POLICE HEADQUARTERS GENERATOR | POLICE HDQTRS. BLDG. | POLICE HDQTRS ONLY | CATERPILLAR | C7.7/ CAT0071CWG200355 | 150 | 2018 | DIESEL | 670 | 1 | 0 | 1 |  |  | 0
0010338 | DOBO HALL GENERATOR | DOBO HALL | DOBO HALL ONLY | CATERPILLAR | C18/ T3400775 | 750 | 2019 | DIESEL | 2600 | 5 | 1 | 1 |  |  | 0
0013343 | P3 STUDENT VILLAGE GENERATOR | P3 STUDENT VILLAGE HOUSING | 4 BUILDINGS | CATERPILLAR | C15/ T3300843 | 500 | 2020 | DIESEL | 2615 | 12 | 0 | 4 |  |  | 0
0014539 | VETERANS HALL GENERATOR | VETERANS HALL | VETERANS HALL ONLY | CATERPILLAR | C18/ T3400685 | 500 | 2020 | DIESEL | 2615 | 3 | 0 | 1 |  |  | 0
0018006 | GENERATOR SHORE DINING HALL | SHORE DINING HALL |  | CATERPILLAR | C7.1/ CAT0071CWG300942 | 200 | 2021 | DIESEL | 408 | 2 | 0 | 0 |  |  | 0
263213.13-0012-EG-01-1031 | TRASK GENERATOR | TRASK | TRASK ONLY | OLYMPIAN | D60P3/ CNPF03263 | 55 | 2004 | DIESEL | 270 | 1 | 0 | 0 |  |  | 0
263213.13-0018-EG-01-0001 | STUDENT REC-CENTER GENERATOR | STUDENT RECREATION | STUDENT RECREATION ONLY | MTU ONSITE ENERGY | 720310/ 363CSL1607-1 | 125 | 2013 | DIESEL | 710 | 1 | 0 | 1 |  |  | 0
263213.13-0021-EG-01-0001 | HOGGARD HALL GENERATOR | HOGGARD | HOGGARD ONLY | CATERPILLAR | 3406/ 9DR05183 | 350 | 2005 | DIESEL | 1250 | 5 | 0 | 1 |  |  | 0
263213.13-0030-EG-01-0001 | CULTURAL ARTS GENERATOR | CULTURAL ARTS BLDG. | CULTURAL ARTS BLDG. ONLY | CATERPILLAR | 3406/ 1DZ10643 | 300 | 2006 | DIESEL | 300 | 1 | 0 | 1 |  |  | 0
263213.13-0035-EG-01-0050 | BURNEY CENTRAL ENERGY PLANT GENERATOR | BURNEY CENTRAL ENERGY PLANT | BURNEY, FISHER STUDENT CENTER, FISHER UNIV. UNION | OLYMPIAN | D200P3/ OLY0000VNNS01882 | 200 | 2007 | DIESEL | 600 | 5 | 0 | 1 |  |  | 0
263213.13-0047-EG-01-1025 | FACILITIES BUILDING GENERATOR | FACILITIES | FACILITIES, TELECOM, CRAFTSHOPS, MOTOR POOL | OLYMPIAN | D125P1/ NAT00126 | 100 | 2002 | DIESEL | 700 | 2 | 0 | 0 |  |  | 0
263213.13-0052-EG-00-0001 | FRIDAY HALL GENERATOR | FRIDAY HALL | FRIDAY HALL ONLY | CUMMINS | DSHAA-5867518/ F070073980 | 150 | 2008 | DIESEL | 665 | 2 | 0 | 1 |  |  | 0
263213.13-0055-EG-01-0011 | PPH, COASTAL ENGINEERING AND BUREVITCH LAB GENERATOR | PPH LAB | PPH LAB ONLY | OLYMPIAN | D125P1/ D3039A/ 001 | 100 | 1998 | DIESEL | 756 | 3 | 1 | 2 |  |  | 0
263213.13-0057-EG-01-0001 | TEACHING LAB GENERATOR | TEACHING LAB | TEACHING LAB ONLY | CATERPILLAR | C27/ MJE02742 | 700 | 2013 | DIESEL | 3000 | 2 | 0 | 1 |  |  | 0
263213.13-0066-EG-01-0001 | SARTARELLI HALL HALL GENERATOR | SARTARELLI HALL | OSPREY HALL ONLY | CATERPlLLAR | D100-6/ CAT00C44LC500407 | 100 | 2016 | DIESEL | 504 | 2 | 0 | 1 |  |  | 0
263213.13-0080-EG-01-0001 | EDUCATION BUILDING GENERATOR | EDUCATION BUILDING | EDUCATION BLDG EMERGENCY LIGHTING ONLY | CATERPILLAR | 3306/ 6YR02866 | 230 | 2004 | DIESEL | 220 | 1 | 0 | 0 |  |  | 0
263213.13-0082-EG-01-0001 | MCNEIL HALL GENERATOR | MCNEILL HALL | MCNEILL HALL ONLY | ONAN | DQDAA-2298029/ L090077301 | 250 | 2010 | DIESEL | 1250 | 2 | 0 | 0 |  |  | 0
263213.13-0121-EG-01-1015 | GALLOWAY HALL GENERATOR | GALLOWAY | GALLOWAY ONLY | DETROIT | 100DSEJB/ 0764085 | 100 | 2003 | DIESEL | 300 | 1 | 0 | 0 |  |  | 0
263213.13-0122-EG-01-0001 | BELK HALL GENERATOR EG 2 | BELK | BELK ONLY | CUMMINS | DSHAC-7076083/ D080171159 | 200 | 2009 | DIESEL | 400 | 2 | 0 | 1 |  |  | 0
263213.13-0124-EG-00-0001 | GRAHAM AND HEWLETT HALLS GENERATOR | GRAHAM | GRAHAM, HEWLETT | JOHN DEERE | 150RJC6DT3/ 310558-1-1-0709 | 150 | 2009 | DIESEL | 300 | 1 | 0 | 1 |  |  | 0
263213.13-0125-EG-01-1024 | SCHWARTZ HALL GENERATOR | SCHWARTZ | SCHWARTZ ONLY | GENERAC | 12964210100/ 2110160 | 100 | 2010 | DIESEL | 450 | 2 | 0 | 0 |  |  | 0
263213.13-0132-EG-01-0001 | WAGONER HALL GENERATOR | WAGONER HALL | WAGONER HALL ONLY | CATERPILLAR | 3208/ 5YF00344 | 200 | 1989 | DIESEL | 270 | 2 | 0 | 0 |  |  | 0
263213.13-0140-EG-01-0058 | CMS-MAIN BUILDING GENERATOR | CMS MAIN | CTR FOR MARINE SCI - MAIN | DETROIT | 400DS/ 600662 | 405 | 1999 | DIESEL | 660 | 4 | 0 | 1 |  |  | 0
263213.13-0148-EG-01-0001 | SHELLFISH RESEARCH HATCHERY GENERATOR | CMS-HATCHERY | CTR FOR MARINE SCI - HATCHERY | CATERPILLAR | LC7/ G7A02988 | 550 | 2010 | DIESEL | 1925 | 1 | 0 | 0 |  |  | 0
263213.13-0149-EG-01-0001 | BIOTECHNOLOGY GENERATOR | CMS-BIOTECH | CTR FOR MARINE SCI - BIOTECH | CATERPILLAR | 3516C/ CAT3516CVSBJ01427 | 1750 | 2013 | DIESEL | 6700 | 1 | 0 | 1 |  |  | 0
263213.13-0169-EG-00-0001 | CONGDON HALL GENERATOR | CONGDON | CIS ONLY | DETROIT | 125RJC6DT3/ 176550-0608 | 125 | 2007 | DIESEL | 650 | 1 | 0 | 0 |  |  | 0
263213.13-0278-EG-01-0001 | SEAHAWK VILLAGE MULTIPLE BUILDINGS GENERATOR | SEAHAWK VILLAGE | SEAHAWK VILLAGE 1-6 | GENERAC | 7307310100/ 2091135 | 130 | 2005 | DIESEL | 377 | 9 | 0 | 0 |  |  | 0
263213.13-0287-EG-01-0001 | SEAHAWK LANDING MULTIPLE BUILDINGS GENERATOR | SEAHAWK LANDING | SEAHAWK LANDING 1-7 | GENERAC | 730731010/ 2091135 | 130 | 2007 | DIESEL | 377 | 9 | 0 | 0 |  |  | 0
263213.13-0293-EG-00-0001 | SEAHAWK CROSSING MULTIPLE BUILDINGS GENERATOR | SEAHAWK CROSSING | SEAHAWK CROSSING 1-4 | DETROIT | 431CSL62C2/ 702995 | 150 | 2009 | DIESEL | 300 | 6 | 0 | 0 |  |  | 0
263213.13-0697-EG-01-0001 | 720 ST JAMES DRIVE GENERATOR | 720 ST. JAMES | 720 ST. JAMES ONLY | SPECTRUM | 12DSEJD/ 2158747 | 125 | 2008 | DIESEL | 677 | 1 | 0 | 0 |  |  | 0
263213.16-0041-EG-01-1014 | ALDERMAN HALL GENERATOR | ALDERMAN | ALDERMAN ONLY | OLYMPIAN | G45F1/ D3378A/001 | 45 | 1998 | PROPANE | 500 | 1 | 0 | 0 |  |  | 0
263213.16-0151-EG-01-0001 | KENAN HOUSE GENERATOR | KENAN HOUSE | KENAN HOUSE ONLY | SPECTRUM DETROIT DIESEL | 60GSG/ 2154792 | 60 | 2008 | NG | N/A | 1 | 0 | 0 |  |  | 0
0014537 | GENERATOR - PORTABLE 19-29 kVA | WRIGHTSVILLE BEACH | WRIGHTSVILLE BEACH | WHISPERWATT | DCA-25SSIU4F/ 7158693 | 20 | 2020 | DIESEL | 41.7 | 0 | 2 | 2 |  |  | 0
263200.00-1610-EG-01-0001 | 14.4 kW EMERGENCY GENERATOR - PORTABLE | MAIN CAMPUS | NONE | MQ POWER | DCA-25SSIU2/ 7158693 | 14.4 | N/A | DIESEL | 58 | 0 | 0 | 0 |  |  | 0
263213.13-1000-EG-01-0001 | 100 kW DIESEL ENGINE DRIVEN GENERATOR - PORTABLE | MAIN CAMPUS | NONE | CATERPILLAR | XQ100-6/ CAT00C44LD4D02704 | 100 | 2017 | DIESEL | 192 | 0 | 0 | 0 |  |  | 0
0035997 | RANDALL LIBRARY EXPANSION GENERATOR | RANDALL LIBRARY | RANDALL LIBRARY | CATERPILLAR | D300/ CAT000C9ARZ900583 | 300 | 2023 | DIESEL |  | 2 | 0 | 0 |  |  | 0 |  |  | NEW - NOT IN SERVICE YET
[10 empty] | 95 | 4 | 22 | 0 | 0 | 0
*PM Pricing to include maintenance of ATS and MTS switches, as well as annunciators.
VENDOR NAME:

## ATS MTS SWITCH INFO
Asset | Property | Description | Generator Associated With | Building | Location | Manufacturer | Model | Serial Number
0008684 | 0014 | ATS-1 AUTOMATIC TRANSFER SWITCH (FOR TRASK GEN) | TRASK COLISEUM | TRASK COLISEUM | M100 | CATERPILLAR INC | CTG | TSA02994
0009259 | 0018 | ATS LEONARD STUDENT RECREATION CENTER AUTOMATIC TRANSFER SWITCH | LEONARD STUDENT RECREATION CENTER | LEONARD STUDENT RECREATION CENTER | 117 | ASCO | J4ADTSB30150N5XC | 820445 RE
0008628 | 0020 | ATS-3 FISHER STUDENT CENTER AUTOMATIC TRANSFER SWITCH | BURNEY CEP | FISHER STUDENT CENTER | 1035 | GENERAL ELECTRIC | ZS25B0104S-07E402N | 1487803-2
0008644 | 0021 | ATS-C HOGGARD HALL AUTOMATIC TRANSFER SWITCH | HOGGARD HALL | HOGGARD HALL | 139 | GENERAL ELECTRIC | ZS5DB06041-07 | 1455844
0008645 | 0021 | ATS-L HOGGARD HALL AUTOMATIC TRANSFER SWITCH | HOGGARD HALL | HOGGARD HALL | 139 | GENERAL ELECTRIC | ZS4DB04041-07 | 1455845
0012803 | 0021 | ATS-3 HOGGARD HALL AUTOMATIC TRANSFER SWITCH | HOGGARD HALL | HOGGARD HALL | 233 | ASCO | J07ATBB30600N5XC | 2129863
0008946 | 0029 | ATS-E VETERANS HALL AUTOMATIC TRANSFER SWITCH | VETERANS HALL | VETERANS HALL | 1040 | ASCO | H7ADTBB30600N5XC | 1848363 WE
0008947 | 0029 | ATS-OPA VETERANS HALL AUTOMATIC TRANSFER SWITCH | VETERANS HALL | VETERANS HALL | 1040 | ASCO | H7ADTBB30800N5XC | 1848364-002 WE
0008948 | 0029 | ATS-OPB VETERANS HALL AUTOMATIC TRANSFER SWITCH | VETERANS HALL | VETERANS HALL | 1040 | ASCO | H7ADTBB30800N5XC | 1848364-001 WE
0008638 | 0030 | ATS-1 CULTURAL ARTS BUILDING AUTOMATIC TRANSFER SWITCH | CULTURAL ARTS | CULTURAL ARTS | 1114 | CATERPILLAR INC | CTG | TSA06026
0008626 | 0035 | ATS-1 BURNEY CEP AUTOMATIC TRANSFER SWITCH | BURNEY CEP | BURNEY CEP | 1001 | GENERAL ELECTRIC | ZS25B0104S-07E402N | 1487803-5
0008627 | 0035 | ATS-2 BURNEY CEP AUTOMATIC TRANSFER SWITCH | BURNEY CEP | BURNEY CEP | 1001 | GENERAL ELECTRIC | ZS25B0104S-07E402N | 1487803-1
0008629 | 0036 | ATS-4 FISHER UNIVERSITY UNION AUTOMATIC TRANSFER SWITCH | BURNEY CEP | FISHER UNIVERSITY UNION | 1020 |  | ZS25B0104S-07E402N | 1487803-3
0008630 | 0036 | ATS-5 FISHER UNIVERSITY UNION AUTOMATIC TRANSFER SWITCH | BURNEY CEP | FISHER UNIVERSITY UNION | 1020 | GENERAL ELECTRIC | ZS25B0104S-07E402N | 1487803-4
0008623 | 0041 | ATS-1 ALDERMAN HALL AUTOMATIC TRANSFER SWITCH | ALDERMAN HALL | ALDERMAN HALL | M100 | GENERAC | 0102-0 | 1870
0008650 | 0047 | ATS-1 FACILITIES BUILDING AUTOMATIC TRANSFER SWITCH | FACILITIES BUILDING | FACILITIES BUILDING | 167 | ASCO | A300C322591C | 176681
0010389 | 0048 | ATS UNIVERSITY POLICE DEPARTMENT AUTOMATIC TRANSFER SWITCH | POLICE HEADQUARTERS | POLICE HEADQUARTERS |  | ASCO | J03ATSB30600CGXF
0008639 | 0052 | ATS-2 FRIDAY HALL AUTOMATIC TRANSFER SWITCH | FRIDAY HALL | FRIDAY HALL | 1031 | ASCO | E07ATBC30260N5XC | 394175FP
0008640 | 0052 | ATS-1 FRIDAY HALL AUTOMATIC TRANSFER SWITCH | FRIDAY HALL | FRIDAY HALL | 1031 | ASCO | E07ATBC30150N5XC | 373043FP
0008653 | 0055 | ATS-1 PSYCHOPHARMACOLOGICAL LAB AUTOMATIC TRANSFER SWITCH | PPH, COASTAL ENGINEERING & BUREVITCH LAB LAB | PPH LAB |  | ASCO | 913758003 | A300B360041XC
0008613 | 0057 | ATS-2 TEACHING LABORATORY AUTOMATIC TRANSFER SWITCH | TEACHING LABORATORY | TEACHING LABORATORY |  | GENERAL ELECTRIC | Z2DL4S1HD70XGS3XXX | 1620589-1
0008622 | 0057 | ATS-1 TEACHING LABORATORY AUTOMATIC TRANSFER SWITCH | TEACHING LABORATORY | TEACHING LABORATORY |  | GENERAL ELECTRIC | Z2CJ4S1HD70XDS3XXX | 1620588-1
0013367 | 0060 | ATS-O DOBO HALL | DOBO HALL | DOBO HALL |  | EATON | SRA1048735
0013368 | 0060 | ATS-E DOBO HALL | DOBO HALL | DOBO HALL |  | EATON | SRA1048735
0013370 | 0060 | SWITCHGEAR GDP DOBO HALL | DOBO HALL | DOBO HALL |  | EATON | SRA1048735
0013371 | 0060 | MANUAL TRANSFER SWITCH DOBO HALL | DOBO HALL | DOBO HALL |  | EATON | SRA1048735 | NTCE3X31600XRU
0014565 | 0060 | ATS-X DOBO HALL | DOBO HALL | DOBO HALL | 1043 | ASCO | J07ATBA30150N5XC | 1981185 RE
0014571 | 0060 | ATS-O DOBO HALL | DOBO HALL | DOBO HALL | 1043 | ASCO | M07ATBA30800N5XC | 1981187 WE
0014572 | 0060 | ATS-E DOBO HALL | DOBO HALL | DOBO HALL | 1043 | ASCO | H07ATBA30800N5XC | 1981186 WE
0019213 | 0064 | 100A ATS THE SHORE DINING HALL | SHORE DINING HALL | SHORE DINING HALL | 1126A | ASCO | D03ATSB30104CGXC | 2723232
0019214 | 0064 | 400A ATS THE SHORE DINING HALL | SHORE DINING HALL | SHORE DINING HALL | 1126A | ASCO | JO3AATSB30400CGXC | 2238284 RE
0008362 | 0066 | ATS 4LS1 SARTARELLI HALL AUTOMATIC TRANSFER SWITCH | SARTARELLI HALL | SARTARELLI HALL | 1027 | ASCO | D03ATSB30104NGXC | 1125946-001 RE
0008366 | 0066 | ATS 4OP1 SARTARELLI HALL AUTOMATIC TRANSFER SWITCH | SARTARELLI HALL | SARTARELLI HALL | 1027 | ASCO | D03ATSSB30104NGXC | 1125946-002 RE
0008655 | 0080 | ATS-1 EDUCATION BUILDING AUTOMATIC TRANSFER SWITCH | EDUCATION BUILDING | EDUCATION BUILDING | 114 |  | 2000 | 11434
0008535 | 0082 | ATS-EM MCNEILL HALL AUTOMATIC TRANSFER SWITCH | MCNEILL HALL | MCNEILL HALL | 1046 | GENERAL ELECTRIC | 07E610X | 1584361-1
0008536 | 0082 | ATS-GEN MCNEILL HALL AUTOMATIC TRANSFER SWITCH | MCNEILL HALL | MCNEILL HALL | 1046 | GENERAL ELECTRIC | 07E610X | 1584360
0007870 | 0095 | ATS-EM ADMINISTRATIVE ANNEX AUTOMATIC TRANSFER SWITCH | ADMINISTRATIVE ANNEX | ADMINISTRATIVE ANNEX | 1004 | ASCO | D03ATSB30030CGXC | 1722850-RE
0007976 | 0111 | ATS 1 TELECOMMUNICATIONS BUILDING AUTOMATIC TRANSFER SWITCH | FACILITIES BUILDING | TELECOMMUNICATIONS | M100 | ZENITH | ZTSH4/26 | 4AAELLMMPTUW
0008641 | 0121 | ATS-1 GALLOWAY HALL AUTOMATIC TRANSFER SWITCH | GALLOWAY HALL | GALLOWAY HALL | M100 | ASCO | A300310441XC | 131106-2
0008624 | 0122 | ATS-2 BELK HALL AUTOMATIC TRANSFER SWITCH | BELK HALL | BELK HALL | M100 | CUMMINS | OTPCA-693029 | G090013128
0009885 | 0122 | ATS 1 BELK HALL AUTOMATIC TRANSFER SWITCH | BELK HALL | BELK HALL | 135 | CUMMINS | OTPCA-693029 | G090013129
0008643 | 0124 | ATS GRAHAM HALL AUTOMATIC TRANSFER SWITCH (POWERS GRAHAM AND HEWLETT HALL) | GRAHAM AND HEWLETT HALLS | GRAHAM HALL |  | ASCO | J4ADTSB30150N50C | 533879 RE
0008656 | 0125 | ATS-1 SCHWARTZ HALL AUTOMATIC TRANSFER SWITCH | SCHWARTZ HALL | SCHWARTZ HALL | 120 | GENERAL ELECTRIC | ZB4SB01041-07E615X | 1612767-1
0008657 | 0125 | ATS-2 SCHWARTZ HALL AUTOMATIC TRANSFER SWITCH | SCHWARTZ HALL | SCHWARTZ HALL | 120 | GENERAL ELECTRIC | ZB4SB01041-07E615X | 1612767-2
0013118 | 0131 | ATS-1 DEPAOLO HALL AUTOMATIC TRANSFER SWITCH | HOGGARD HALL | DEPAOLO HALL | 1090 | GENERAL ELECTRIC | MX150
0013119 | 0131 | ATS-2 DEPAOLO HALL AUTOMATIC TRANSFER SWITCH | HOGGARD HALL | DEPAOLO HALL | 1090
0008685 | 0132 | ATS-1 WAGONER HALL AUTOMATIC TRANSFER SWITCH | WAGONER HALL | WAGONER HALL | 122 | GENERAL ELECTRIC | ZTS2GFC-7AAEIIMMPSTUW | 169421
0008686 | 0132 | ATS-2 WAGONER HALL AUTOMATIC TRANSFER SWITCH | WAGONER HALL | WAGONER HALL | 122 | GENERAL ELECTRIC | ZS2SB01041-07E620X | 1640037-1
0008635 | 0140 | ATS-1 CMS MAIN BUILDING AUTOMATIC TRANSFER SWITCH | CMS MAIN BUILDING | CMS MAIN BUILDING | 1139 | ASCO | E03ATSC30400NG0C | 1422993-001 RE
0008637 | 0140 | ATS-3 CMS MAIN BUILDING NON-AUTOMATIC TRANSFER SWITCH | CMS MAIN BUILDING | CMS MAIN BUILDING | 1139 | ASCO | J07ATSA30400N5XC | 361400
0013261 | 0140 | ATS-2 CMS MAIN BUILDING AUTOMATIC TRANSFER SWITCH | CMS MAIN BUILDING | CMS MAIN BUILDING | 1139 | ASCO | D08ATSA30230NGXC | 2168024 RE
0013067 | 0147 | ATS OPERATIONS FACILITY AUTOMATIC TRANSFORMER SWITCH | CMS MAIN BUILDING | CMS MAIN BUILDING | 1057 | ASCO | 7000 SERIES
0008649 | 0148 | ATS-1 SHELLFISH RESEARCH HATCHERY AUTOMATIC TRANSFER SWITCH | SHELLFISH RESEARCH HATCHERY | SHELLFISH RESEARCH HATCHERY |  | ASCO | G07ATSC316005X0 | 571662 WE
0008717 | 0149 | ATS-0S BIOTECHNOLOGY AUTOMATIC TRANSFER SWITCH | BIOTECHNOLOGY | BIOTECHNOLOGY | 2004A | ASCO | G7ACTBB33000N5XC | 836874
0025980 | 0149 | ATS-LS BIOTECHNOLOGY | BIOTECHNOLOGY | BIOTECHNOLOGY | 1031A
0008647 | 0151 | ATS KENAN HOUSE AUTOMATIC TRANSFER SWITCH | KENAN HOUSE | KENAN HOUSE |  | DETROIT | TS 843A0400B1AGZNKAA | W-044106
0021186 | 0151 | MTS | KENAN HOUSE | KENAN HOUSE | 001
0019613 | 0169 | ATS SERVER-BACKUP ITSD ROOM CONGDON HALL | CONGDON HALL | CONGDON HALL | 1029 | ASCO
0014268 | 0181 | ATS1 LOGGERHEAD | P3 STUDENT VILLAGE | LOGGERHEAD HALL | 1002A | ASCO | J03ATSB30260CGXC | 1986897-005 RE
0014270 | 0181 | ATS2 LOGGERHEAD | P3 STUDENT VILLAGE | LOGGERHEAD HALL | 1002A | ASCO | J03ATSB30260CGXC | 1986897-006 RE
0014272 | 0181 | ATS3 LOGGERHEAD | P3 STUDENT VILLAGE | LOGGERHEAD HALL | 1002A | ASCO | J03ATSB30260CGXC | 1986897-001 RE
0013837 | 0182 | ATS1 TERRAPIN | P3 STUDENT VILLAGE | TERRAPIN HALL | 1001A | ASCO | J03ATSB30260CGXC | 1986897-003 RE
0013839 | 0182 | ATS2 TERRAPIN | P3 STUDENT VILLAGE | TERRAPIN HALL | 1001A | ASCO | J03ATSB30260CGXC | 1986897-004 RE
0013841 | 0182 | ATS3 TERRAPIN | P3 STUDENT VILLAGE | TERRAPIN HALL | 1001A | ASCO | J03ATSB30260CGXC | 1986897-002 RE
0010855 | 0183 | ATS1 SANDPIPER | P3 STUDENT VILLAGE | SANDPIPER HALL | 1310A | ASCO | J03ATSB30260CGXC | 2019346-001 RE
0010857 | 0183 | ATS2 SANDPIPER | P3 STUDENT VILLAGE | SANDPIPER HALL | 1310A | ASCO | J03ATSB30260CGXC | 2019346-003 RE
0010286 | 0184 | ATS1 PELICAN | P3 STUDENT VILLAGE | PELICAN HALL | 1310A | ASCO | J03ATSB30260CGXC | 2019346-004 RE
0010288 | 0184 | ATS2 PELICAN | P3 STUDENT VILLAGE | PELICAN HALL | 1310A | ASCO | J03ATSB30260CGXC | 2019346-002 RE
0013344 | 0185 | ATS-RBP UTILITY BUILDING AUTOMATIC TRANSFER SWITCH | P3 STUDENT VILLAGE | UTILITY BUILDING | 1001B | ASCO | J03ATSB30260NGXC | 1986898 RE
0013345 | 0185 | ATS-UP UTILITY BUILDING (P3 STUDENT VILLAGE) AUTOMATIC TRANSFER SWITCH | P3 STUDENT VILLAGE | UTILITY BUILDING | 1001B | ASCO | J03ATSB30260NGXC | 1986899 RE
0013139 | 0188 | MANUAL TRANSFER SWITCH (MTS) FILM CENTER | TEMPORARY GENERATOR | UNIVERSITY FILM STUDIES | 1022 |  | 30WC3040
0008676 | 0270 | ATSC SEAHAWK VILLAGE BUILDING 1 AUTOMATIC TRANSFER SWITCH | SEAHAWK VILLAGE | SEAHAWK VILLAGE | 117 | GENERAC | 5800020100 | 89478
0008679 | 0271 | ATSB SEAHAWK VILLAGE BUILDING 2 AUTOMATIC TRANSFER SWITCH | SEAHAWK VILLAGE | SEAHAWK VILLAGE | 117 | GENERAC | 5800020100 | 89479
0008680 | 0272 | ATS-1 SEAHAWK VILLAGE BUILDING 3 AUTOMATIC TRANSFER SWITCH | SEAHAWK VILLAGE | SEAHAWK VILLAGE | 117 | GENERAC | 5800020100 | 89474
0008681 | 0273 | ATSB SEAHAWK VILLAGE BUILDING 4 AUTOMATIC TRANSFER SWITCH | SEAHAWK VILLAGE | SEAHAWK VILLAGE | 117 | GENERAC | 5800020100 | 89476
0008682 | 0274 | ATSA SEAHAWK VILLAGE BUILDING 5 AUTOMATIC TRANSFER SWITCH | SEAHAWK VILLAGE | SEAHAWK VILLAGE | 117 | GENERAC | 5800020100 | 89473
0008683 | 0275 | ATSB SEAHAWK VILLAGE BUILDING 6 AUTOMATIC TRANSFER SWITCH | SEAHAWK VILLAGE | SEAHAWK VILLAGE | 117 | GENERAC | 5800020100 | 89475
0008677 | 0276 | ATS-EC SEAHAWK VILLAGE CLUB HOUSE AUTOMATIC TRANSFER SWITCH | SEAHAWK VILLAGE | SEAHAWK VILLAGE | 107 | GENERAC | 5800020300 | 89477
0008678 | 0276 | ATS-3 SEAHAWK VILLAGE CLUB HOUSE AUTOMATIC TRANSFER SWITCH | SEAHAWK VILLAGE | SEAHAWK VILLAGE | 108 | GENERAC | 5800020300 | 89480
0008711 | 0276 | ATS-2 SEAHAWK VILLAGE CLUB HOUSE AUTOMATIC TRANSFER SWITCH | SEAHAWK VILLAGE | SEAHAWK VILLAGE | 108 | GENERAC | 665414100 | 90703
0008675 | 0279 | ATS-1 SEAHAWK LANDING BUILDING 1 AUTOMATIC TRANSFER SWITCH | SEAHAWK LANDING | SEAHAWK LANDING | 217 | GENERAC | 7307400100 | 92172
0008666 | 0280 | ATS-1 SEAHAWK LANDING BUILDING 2 AUTOMATIC TRANSFER SWITCH | SEAHAWK LANDING | SEAHAWK LANDING | 217 | GENERAC | 7307400100 | 92171
0008667 | 0281 | ATS-1 SEAHAWK LANDING BUILDING 3 AUTOMATIC TRANSFER SWITCH | SEAHAWK LANDING | SEAHAWK LANDING | 217 | GENERAC | 7307400100 | 92177
0008668 | 0282 | ATS-1 SEAHAWK LANDING BUILDING 4 AUTOMATIC TRANSFER SWITCH | SEAHAWK LANDING | SEAHAWK LANDING | 217 | GENERAC | 7307400100 | 92713
0008669 | 0283 | ATS-1 SEAHAWK LANDING BUILDING 5 AUTOMATIC TRANSFER SWITCH | SEAHAWK LANDING | SEAHAWK LANDING | 217 | GENERAC | 7307400100 | 92176
0008670 | 0284 | ATS-1 SEAHAWK LANDING BUILDING 6 AUTOMATIC TRANSFER SWITCH | SEAHAWK LANDING | SEAHAWK LANDING | 217 | GENERAC | 7307400100 | 92174
0008674 | 0285 | ATS-1 SEAHAWK LANDING BUILDING 7 AUTOMATIC TRANSFER SWITCH | SEAHAWK LANDING | SEAHAWK LANDING | 120 | GENERAC | 7307400100 | 92175
0008672 | 0286 | ATS FOR BOOSTER PUMPS SEAHAWK LANDING POOL HOUSE AUTOMATIC TRANSFER SWITCH | SEAHAWK LANDING | SEAHAWK LANDING | 05 | GENERAC | 7307400200 | 92178
0008673 | 0286 | ATS-1 SEAHAWK LANDING POOL HOUSE AUTOMATIC TRANSFER SWITCH | SEAHAWK LANDING | SEAHAWK LANDING | 06 | GENERAC | 7307400100 | 92178
0008659 | 0289 | ATS-1 SEAHAWK CROSSING BUILDING 1 AUTOMATIC TRANSFER SWITCH | SEAHAWK CROSSING | SEAHAWK CROSSING | 120A | ASCO | D00300B30104C10C | 485861-005 RE
0008660 | 0290 | ATS-1 SEAHAWK CROSSING BUILDING 2 AUTOMATIC TRANSFER SWITCH | SEAHAWK CROSSING | SEAHAWK CROSSING | 120A | ASCO | D00300B30104C10C | 485861-004 RE
0008715 | 0290 | ATS-2 SEAHAWK CROSSING BUILDING 2 AUTOMATIC TRANSFER SWITCH | SEAHAWK CROSSING | SEAHAWK CROSSING | 120 | ASCO | D00300B30104C10C | 485861-001 RE
0008661 | 0291 | ATS-1 SEAHAWK CROSSING BUILDING 3 AUTOMATIC TRANSFER SWITCH | SEAHAWK CROSSING | SEAHAWK CROSSING | 120A | ASCO | D00300B30104C10C | 485861-002 RE
0008663 | 0292 | ATS-1 SEAHAWK CROSSING BUILDING 4 AUTOMATIC TRANSFER SWITCH | SEAHAWK CROSSING | SEAHAWK CROSSING | 120A | ASCO | D00300B30104C10C | 485861-003 RE
0008664 | 0640 | ATS-1 EAST PARKING DECK AUTOMATIC TRANSFER SWITCH | SEAHAWK CROSSING | EAST PARKING DECK | 107A | ASCO | D00300B30070N10C | 485757RE
0008654 | 0697 | ATS-1 720 ST JAMES DRIVE AUTOMATIC TRANSFER SWITCH | 720 ST. JAMES DRIVE | 72 ST. JAMES DRIVE |  | DETROIT | RSS-DFNC-0600S | K2154327
0018942 | 0710 | ATS-LS COASTAL ENGINEERING AUTOMATIC TRANSFER SWITCH | COASTAL ENGINEERING | COASTAL ENGINEERING | 1145 | ASCO | 140798 | 2319094
0018943 | 0710 | ATS-GM COASTAL ENGINEERING AUTOMATIC TRANSFER SWITCH | COASTAL ENGINEERING | COASTAL ENGINEERING | 1145 | ASCO | 1404796 | 2319093
0018953 | 0710 | MTS COASTAL ENGINEERING MANUAL TRANSFER SWITCH | COASTAL ENGINEERING | COASTAL ENGINEERING | 1145 | SQUARE D COMPANY | 82454 | 4028150001
0035998 | 0091 | ATS-E AUTOMATIC TRANSFER SWITCH RANDALL EXPANSION | RANDALL LIBRARY EXPANSION | RANDALL LIBRARY | 1080 | TBD | TBD | TBD | NEW - NOT IN SERVICE YET
0035999 | 0091 | ATS-OP AUTOMATIC TRANSFER SWITCH RANDALL EXPANSION | RANDALL LIBRARY EXPANSION | RANDALL LIBRARY | 1080 | TBD | TBD | TBD | NEW - NOT IN SERVICE YET