# Granville Health System

Request for Information (RFI)

Deaerator (DA) Tank Replacement — Central Energy Plant

# 1. Purpose

Granville Health System is issuing this Request for Information (RFI) to qualified mechanical contractors, boiler system specialists, and engineering firms regarding the replacement of the existing Deaerator (DA) tank system serving the hospital’s central energy plant.

Objectives of this RFI include:

Coordinate on-site vendor assessments with GHS representatives

Obtain engineering recommendations for replacement of the existing DA tank system

Understand installation requirements, phasing impacts, and operational considerations

Gather budgetary pricing to support immediate replacement.

This RFI is for planning and information only. No award will be made solely from this request.

# 2. Project Scope

Granville Health System intends to replace the existing DA tank, including evaluation and coordination with the current boiler plant.

Scope may include:

Replacement of existing Deaerator (DA) tank

Evaluation and replacement of feedwater pumps (if required)

Associated piping, valves, and controls

Integration with existing boiler systems (two main boilers)

Electrical and control system upgrades (as needed)

Structural support, pad, or rigging considerations

Insulation and system commissioning

The DA Tank currently supports a closed-loop boiler feedwater system serving the hospital campus and returning to the central energy plant.

# 3. Requested Information

## 3.1 System Recommendations

Tank construction materials and expected lifespan

Redundancy considerations for healthcare environments

Recommended deaerator configuration

Guaranteed oxygen removal performance (ppb)

Operating pressure and temperature ranges

Storage Volume and effective hold time

Turndown capability

Materials and Construction of proposed DA Tank

Controls and Instrumentation

## 3.2 Compliance & System Standards

ASME Boiler and Pressure Vessel Code compliance

National Board Inspection Code (NBIC) considerations

Applicable state and local boiler/mechanical codes

OSHA requirements for installation and operation

## 3.3 System Interface & Utility Requirements

Steam and condensate return integration requirements

Water quality considerations and chemical treatment coordination

Venting and exhaust requirements

Blowdown and drainage requirements

Electrical service requirements

Control system integration with existing plant systems

## 3.4 Installation Requirements

Expected construction duration

Phasing requirements to maintain boiler operation

Rigging and access constraints within existing energy plant

Measures for safety, noise control, and operational continuity

## 3.5 Service & Long-Term Maintenance

Warranty periods and coverage levels

Recommended preventative maintenance (PM) programs

Spare parts availability and lead times

Expected lifecycle of system components

## 3.6 Budgetary Information

Provide rough order-of-magnitude pricing for:

Engineering and design fees

DA tank equipment

Pumps, controls, and accessories

Installation labor

Piping and mechanical modifications

Electrical and controls integration

Temporary system provisions (if required)

Commissioning and startup

All pricing should be structured to support immediate replacement.

# 4. Vendor Site Visits

Review of existing DA tank and boiler plant

Inspection of feedwater, condensate return, and piping systems

Evaluation of mechanical room layout and access

Identification of rigging and installation constraints

Assessment of phasing limitations and operational risks

Target Date for completed initial site visits: 5/1/2026

Contacts for coordination: Zeb Barnette, Jonathan Pernell

# 5. Response Format

Company information and primary contacts

Relevant experience with boiler plant / DA tank systems (healthcare preferred)

Credentials, licensing, and mechanical/engineering capabilities

Recommended system approach and configuration

Technical literature or product data sheets

Lead times for equipment and mobilization

Installation approach and phasing plan

Maintenance and service offerings

Preferred site visit dates

Budgetary pricing (design, labor, equipment, etc.)

# 6. Submission Deadline

Responses requested by: 5/8/2026

# 7. Contact Information

Granville Health System — Facilities / Operations

Primary Contact: Jonathan Pernell, Facilities Director

Email:  jpernell@granvillemedical.com

Phone: 919-691-0708

Secondary Contact: Zeb Barnette, Project Manager

Email:	zbarnette@granvillemedical.com

Phone: 336-504-0068