TOWN OF PRINCEVILLE

REQUEST for PROPOSALS (RFP)

Town of Princeville Historical Museum Repair

RFP # 12-24-02 TP

Issue Date: December 10, 2024

Mandatory Site Visit: January 6, 2025

Response Deadline: January 31, 2025

Town of Princeville

Town Hall

201 S. Main Street – PO Box 1527

Princeville, NC 27886

NOTICE of REQUEST FOR PROPOSALS

Town of Princeville- Princeville Historical Museum Repair

GENERAL

Town of Princeville is soliciting qualifications from qualified companies, interested in providing repairs to our historical museum in accordance with the specified specifications listed within the bid document.   The Town of Princeville will follow a Qualifications Based Selection process as required by North Carolina General Statutes.

A team of Town of Princeville staff members will review and select the top three qualified companies to present to the Board of Commissioners for the final decision. This Request for Proposal (RFP) provides complete information on the services being sought, the submittal requirements and timeline.

SERVICES REQUIRED.

The storms cause damage to the (67’9” X 40’9”) Princeville Museum building, built in 1935. The building is a wood framed building with wood siding, drywall walls and wood flooring. The building is a historical building located 310 Mutual Bld. Princeville, NC; (GPS: 35.890133 /-77.526613). The damage occurred within the following rooms: 1. Main Corridor: (34’ 9 x 9’) 2. Vestibule: (6’6” x 9’); Room 1; (21’3” x 11’x5”) 3. Room 8: (15’1” x 8’3”) 4. Kitchen (15’5” x 8’8”) 5. Mech. Room: (15’5” x 6’5”) 6. Hallway1: (6’2” x 39’10”) 7. Hallway 2; (3’8” x 15’5”); 8. Men bathroom: (14’6” x 9’7”): 9. Women bathroom: (14’6” x 9’6”) 10. Room 2 (20’1” x 14’4”) 11. Room 3; (2’9” x6’5”) located in in room 2 12. Room 12: (36’4” x 19’7”) 13. Room 13: (20’2” x 33’11”). The damage includes the following items throughout the rooms: 1. 3147 SF of Oak flooring 2. 6000 SF of R15 insulation 3. 3745SF of ½” drywall 4. 18LF of wood interior door trim 5. 684LF of 8” wood base board molding 6. 476LF of wood 1” x4” trim 7. 104 Outlets 8. 842SF of 15# felt vapor barrier 9. 684LF of Quarter Round ¾” x ¾” 10. Paint was damage on 12,977SF of walls 11. 756SF of Tile walls & flooring 12. 276SF of ½” cement backing board 13. 1270SF of house wrap 14. 13 interior wood doors was damaged 15. 8LF of display cabinet’s glass 16. 377.75 tile flooring was damaged 17. 46LF of tile base was damaged 18. 1 ea door kick plate 19. 1EA door pull plate 20. 1EA door push plate 21. 1EA door closer 22. 2EA handicap grab bar stainless steel 1 ½” x 30” 23. 2EA Toilet partition 24. 2EA toilet handicap partition 25. 2EA Toilet paper dispenser 26. 2EA paper towel dispenser 27. 2EA Single sinks 28. 2EA toilet ADA 29. 1EA drinking fountain 30. 1EA Air handler 31. 1EA water heater 32. 36.25LF of lower base cabinetry 33. 41.62LF of counter top 34. 1EA Range freestanding 35. 1EA range hood 36. 1EA Refrigerator side by side 37. 23.33LF upper wall cabinetry 38. 1EA Kitchen sink double with faucet 39. 1EA Accordion door 40. 1EA exterior door side lite 41. 1EA French door exterior 42. 1EA central air condenser unit system PA-04-NC-4285-PW-00085(1): PA-04-NC-4285-PW-00085(2):

Scope of Work:

The Town of Princeville intends to utilize a contractor to repair the Princeville Museum building located at on 310 Mutual Bld. Princeville, NC and bring it back to pre-disaster footprint, design and function.  Work will be conducted throughout the (67’9” X 40’9”) historical Museum. The work will include using the salvage oak flooring and purchasing an in kind flooring when additional flooring is needed. The work includes restoring all damage items back with in kind material and when/ if material is not available the contractor will work with the Town of Princeville to contract the historical department, state and federal to insure material meets the required historical requirements. The repair work will include the repair of the following rooms:

1. Main Corridor: 34’ 9 x 9’

2. Vestibule: 6’6” x 9’

3. Room 1; 21’3” x 11’x5”

4. Room 8: 15’1” x 8’3”

5. Kitchen 15’5” x 8’8”

6. Mech. Room: 15’5” x 6’5”

7. Hallway1: 6’2” x 39’10”

8. Hallway 2; 3’8” x 15’5”

9. Men bathroom: 14’6” x 9’7”

10. Women bathroom: 14’6” x 9’6”

11. Room 2- 20’1” x 14’4”

12. Room 3; 2’9” x6’5” located in in room

13. Room 12: 36’4” x 19’7”

14. Room 13: 20’2” x 33’11”.

The repair will include the following items throughout the rooms:

1. Floors SF Oak flooring

2. Sand and finsh flooring

3. Insulation SF

4. Walls SF 1/2" drywall

5. Doors LF

6. Baseboard Trim LF 8" Moldings

7. Trim LF 1" x 4"

8. Outlets

9. Vapor Barrier SF 15# felt

10. Quarter Round LF 3/4" x 3/4"

11. Paint SF

12. Title Walls & Floor SF

13. 1/2 cement Board SF

14 House wrap SF

15. Siding SF

16. Doors

17. Display cabinets-glass- material

18. Tile Wall and flooring

19. Tile base

20. Door Kick plate 16 gauge 8" x 34"

21. Door Pull Plate 4" x 16"

22. Door Push Plate 4" x 16"

23. Door closer

24. Handicap grab bar stainless steel 1 1/2" x 36"

25. Toilet Partition

26. Toilet Partition Handicap

27. Toilet Paper dispenser

28. Paper towel dispenser

29. Sink single

30. Toilet ADA

31. ROUGH--IN

32. Drinking fountain

33. Air Handler

34. Water Heater- Electric

35. Cabinetry lower base

36. Countertop

37. Range freestanding

38. Range Hood

39. Refrigerator side by side

40. Cabinetry upper wall unit

41. Kitchen sink double and faucet

42. Accordian Door

43. Exterior door sidelight

44. French door exterior Metal

45. HVAC

| Description | Unit (EA) | Price | Labor Price |
| --- | --- | --- | --- |
| Floors SF Oak flooring |  |  |  |
| Sand and finish flooring |  |  |  |
| Insulation SF |  |  |  |
| Walls SF ½ Drywall |  |  |  |
| Doors LF |  |  |  |
| Baseboard Trim LF “ Moldings |  |  |  |
| Trim LF 1”X4” |  |  |  |
| Outlets |  |  |  |
| Vapor Barrier SF 15# Felt |  |  |  |
| Quarter Round LF 3/4” x3/4” |  |  |  |
| Paint SF |  |  |  |
| Title Walls & Floor SF |  |  |  |
| 1/2” Cement Board SF |  |  |  |
| House Wrap SF |  |  |  |
| Siding SF |  |  |  |
| Doors |  |  |  |
| Display cabinets glass material |  |  |  |
| Tile Wall and Flooring |  |  |  |
| Tile Base |  |  |  |
| Door Kick Plate 16 guage 8”x34” |  |  |  |
| Door Pull Plate 4”x16” |  |  |  |
| Door Push Plate 4”X16” |  |  |  |
| Door Closer |  |  |  |
| Handicap grab bar stainless steel 1 ½” x 36” |  |  |  |
| Toilet Partition |  |  |  |
| Toilet Partition Handicap |  |  |  |
| Toilet Paper Dispenser |  |  |  |
| Paper Towel Dispenser |  |  |  |
| Sink Single |  |  |  |
| Toilet ADA |  |  |  |
| Rough—IN |  |  |  |
| Drinking Fountain |  |  |  |
| Air Handler |  |  |  |
| Water Heater Electric |  |  |  |
| Cabinetry lower base |  |  |  |
| Countertop |  |  |  |
| Range Freestanding |  |  |  |
| Range Hood |  |  |  |
| Refrigerator side by side |  |  |  |
| Cabintry upper wall unit |  |  |  |
| Kitchen sink double and faucet |  |  |  |
| Accordian Door |  |  |  |
| Exterior door Sidelight |  |  |  |
| French door exterior Metal |  |  |  |
| HVAC |  |  |  |
| Additional Supplies |  |  |  |
| Additional Hardware |  |  |  |
| Total Pricing |  |  |  |

PROJECT SCHEDULE

The project will follow the following schedule:

| December 10, 2024 | Advertisement of RFP for Repairs |
| --- | --- |
| January 6, 2025 | Mandatory Site Visit |
| January 24, 2025 | RFP responses due by 5:00 PM local time |
| January 24–30 2025 | Presentation of top 3 choices to board for decision/ Company Selection (Dated depends on boards availability for a special call meeting) |
| TBD | Contract Award (Commissioners Meeting) |

This contract will begin after the award is approved by the Town Board of Commisssioners.

SUBMITTAL

Request for Proposals must be received no later than January 24, 2025, at 5:00 PM. Submit three (3) copies of proposals in a mailing container or envelope that is plainly marked on the outside with “TOWN OF PRINCEVILLE”. The town is not responsible for delays in the delivery proposals. We will not open any responses received later than the date and time stated above.

Proposals are to be delivered to:

Email:

rjackson@townofprinceville.com

Mailing Address:

Town of Princeville

Attn: Ronald Jackson

PO Box 1527

Princeville, NC 27886.

Physical Address:

Princeville Town Hall

Ronald Jackosn, Interim Town Manager

201 S. Main Street

Princeville, NC 27886.

Questions about the RFP are to be submitted in writing, electronically to Alexis Carter acarter@townofprinceville.com by written correspondence, Attn: Alexis Carter, Assistant Town Manager. Questions must be received by January 14th, 2025. Responses to questions will be posted on the Town’s website at www.townofprinceville.com.

Proposals shall not be considered confidential, and no information contained therein shall be treated by the Town as either confidential, proprietary, or trade secret information. The contents of the proposals shall be considered public records of the Town. Any firm submitting a proposal hereunder further acknowledges and agrees that the Town is a public entity, which is required to abide by laws governing public records and shall not be liable for disclosures required by law. All materials submitted in response to this RFP shall become the property of the Town upon delivery to the address set forth above. This RFP does not obligate Town of Princeville to pay any costs incurred by respondents in the preparation and submission of a proposal. This RFP does not obligate Town of Princeville to accept or contract for any expressed or implied services. The successful firm must ensure that services performed meet all current industry standards, follow best practices, and comply with all applicable laws and regulations.

Town of Princeville invites and encourages participation in the procurement process by businesses owned by minorities, women and disabled business enterprises. Town of Princeville reserves the right to reject any and all proposals and to terminate this RFP at any time.

REQUIRED PROPOSAL DOCUMENTS

Cover Letter

Company’s shall provide a cover letter that describes their interest in working with the Town. It should also include the following:

- Company name, address, contact information, and point of contact;

- A summary of the contents of the proposal; and

- Tax ID number or Federal Employer I.D. Number.

Proposal Format

Included in its proposal, each Company must provide the following information to the Town, and shall guarantee the accuracy of such information by signature of its authorized representative:

- Cost: Provide an hourly cost for employees, hourly cost for equipment.

- Qualifications: Describe your Company’s qualifications to perform the services requested. Include a list of your team that will be assigned to this project and each member’s qualifications and experience. Also describe your current workload as far as to show the ability to meet the time demands of this proposal.

- Experience: Provide a detailed description of your Company’s work on similar contracts. Provide supporting information, if possible. If applicable, describe your familiarity with the Town of Princeville.

- Reference: Provide references (min 3-max 5) of similar work, from similar projects and/or towns that are comparable in size or Companies of which similar work has been performed.

EVALUATION CRITERIA

After the submission of the RFP responses, firms may be requested to participate in an interview. Each response will be evaluated and ranked on the criteria set forth below. The criteria will be weighed as noted below in determining the award. After the evaluation, the Town will identify the company that it feels can provide the greatest response and execution. Should the company with the highest score decline the offer, the firm with the second highest score will be extended the opportunity to provide services.

Scoring Criteria (100 Points)

1. 40 points – Cost

2. 30 points – Qualifications

3. 30 points – Experience

Any proposal submitted without the expressed requirements of this RFP, or submitted after the deadline will be rejected. The Town will review submitted proposals and select the highest ranked and most qualified company. The Town reserves the right to disqualify any company on the basis of any real or apparent conflict of interest, openly disclosed or otherwise. Once selected, the Town will negotiate with the company a not-to-exceed contract amount for repairs. All expenses associated with response to this RFP are the responsibility of the responder.