STATE OF NORTH CAROLINA

North Carolina State Highway Patrol Commercial Carport

Invitation for Bid #: 19-IFB-1352603651-HDE

Commercial Carport

Date of Issue: November 22, 2024

Bid Opening Date: December 5, 2024

At  2:00 PM ET

Direct all inquiries concerning this IFB to:

Debbie Hill

Procurement Specialist II

Email: Debbie.Hill@ncdps.gov

STATE OF NORTH CAROLINA

Invitation for Bid #

19-IFB-1352603651-HDE
______________________________________________________

For internal State agency processing, including tabulation of bids, provide your company’s eVP (Electronic Vendor Portal) Number. Pursuant to G.S. 132-1.10(b) this identification number shall not be released to the public. This page will be removed and shredded, or otherwise kept confidential, before the procurement file is made available for public inspection.

This page shall be filled out and returned with your bid.
Failure to do so may subject your bid to rejection.

___________________________________________________
Vendor Name

______________________________

Vendor eVP#

Note:  For a contract to be awarded to you, your company (you) must be a North Carolina registered vendor in good standing.  You must enter the vendor number assigned through eVP (Electronic Vendor Portal).  If you do not have a vendor number, register at https://vendor.ncgov.com/vendor/login

| STATE OF NORTH CAROLINA DEPARMENT OF PUBLIC SAFETY |  |
| --- | --- |
| Refer ALL Inquiries regarding this IFB to the procurement lead through the Message Board in the Sourcing Tool. See section 2.6 for details: Debbie Hill | Invitation for Bid #: 19-IFB-1352603651-HDE |
|  | Bids will be publicly opened: December 5,2024 |
| Using Agency: NC State Highway Patrol | Commodity No. and Description: 951417 Prefabricated commercial and industrial building and structures |
| Requisition No.: RQ152424 |  |

EXECUTION

In compliance with this Invitation for Bid (IFB), and subject to all the conditions herein, the undersigned Vendor offers and agrees to furnish and deliver any or all items upon which prices are bid, at the prices set opposite each item within the time specified herein.

By executing this bid, the undersigned Vendor understands that false certification is a Class I felony and certifies that:

- this bid is submitted competitively and without collusion (G.S. 143-54),

- none of its officers, directors, or owners of an unincorporated business entity has been convicted of any violations of Chapter 78A of the General Statutes, the Securities Act of 1933, or the Securities Exchange Act of 1934 (G.S. 143-59.2), and

- it is not an ineligible Vendor as set forth in G.S. 143-59.1.

Furthermore, by executing this bid, the undersigned certifies to the best of Vendor’s knowledge and belief, that:

- it and its principals are not presently debarred, suspended, proposed for debarment, declared ineligible or voluntarily excluded from covered transactions by any Federal or State department or agency.

As required by G.S. 143-48.5, the undersigned Vendor certifies that it, and each of its sub-Contractors for any Contract awarded as a result of this IFB, complies with the requirements of Article 2 of Chapter 64 of the NC General Statutes, including the requirement for each employer with more than 25 employees in North Carolina to verify the work authorization of its employees through the federal E-Verify system.

As required by Executive Order 24 (2017), the undersigned vendor certifies will comply with all Federal and State requirements concerning fair employment and that it does not and will not discriminate, harass, or retaliate against any employee in connection with performance of any Contract arising from this solicitation.

G.S. 133-32 and Executive Order 24 (2009) prohibit the offer to, or acceptance by, any State Employee associated with the preparing plans, specifications, estimates for public contracts; or awarding or administering public contracts; or inspecting or supervising delivery of the public contract of any gift from anyone with a contract with the State, or from any person seeking to do business with the State. By execution of this response to the IFB, the undersigned certifies, for Vendor’s entire organization and its employees or agents, that Vendor is not aware that any such gift has been offered, accepted, or promised by any employees of your organization.

By executing this bid, Vendor certifies that it has read and agreed to the INSTRUCTION TO VENDORS and the NORTH CAROLINA GENERAL TERMS AND CONDITIONS incorporated herein. These documents can be accessed from the Ariba Sourcing Tool.

Failure to execute/sign bid prior to submittal may render bid invalid and it MAY BE REJECTED. Late bids shall not be accepted.

| COMPLETE/FORMAL NAME OF VENDOR: |  |  |  |
| --- | --- | --- | --- |
| STREET ADDRESS: |  | P.O. BOX: | ZIP: |
| CITY & STATE & ZIP: |  | TELEPHONE NUMBER: | TOLL FREE TEL. NO: |
| PRINCIPAL PLACE OF BUSINESS ADDRESS IF DIFFERENT FROM ABOVE (SEE INSTRUCTIONS TO VENDORS ITEM #21): |  |  |  |
| PRINT NAME & TITLE OF PERSON SIGNING ON BEHALF OF VENDOR: |  | FAX NUMBER: |  |
| VENDOR’S AUTHORIZED SIGNATURE*: | DATE: | EMAIL: |  |

VALIDITY PERIOD

Offer shall be valid for at least ninety (90) days from date of bid opening, unless otherwise stated here:  ______ days, or if extended by mutual agreement of the parties in writing.  Any withdrawal of this offer shall be made in writing, effective upon receipt by the agency issuing this IFB.

ACCEPTANCE OF BIDS

If your bid is accepted, all provisions of this IFB, along with the written results of any negotiations, shall constitute the written agreement between the parties (“Contract”). The NORTH CAROLINA GENERAL TERMS AND CONDITIONS are incorporated herein and shall apply. Depending upon the Goods or Services being offered, other terms and conditions may apply, as mutually agreed.

FOR STATE USE ONLY: Offer accepted and Contract awarded this________ day of __________, 20____, as indicated on The attached certification, by ____________________________________________________________________. (Authorized Representative of Department of Public Safety)

Contents

1.0	PURPOSE AND BACKGROUND	5

2.0	GENERAL INFORMATION	5

2.1	INVITATION FOR BID DOCUMENT	5

2.2	E-PROCUREMENT FEE	5

2.3	NOTICE TO VENDORS REGARDING IFB TERMS AND CONDITIONS	5

2.4	IFB SCHEDULE	6

2.5	SITE VISIT	6

2.6	BID QUESTIONS	6

2.7	BID SUBMITTAL	7

2.8	BID CONTENTS	7

2.9	ALTERNATE BIDS	8

2.10	DEFINITIONS, ACRONYMS, AND ABBREVIATIONS	8

3.0	METHOD OF AWARD AND BID EVALUATION PROCESS	8

3.1	METHOD OF AWARD	8

3.2	CONFIDENTIALITY AND PROHIBITED COMMUNICATIONS DURING EVALUATION	9

3.3	BID EVALUATION PROCESS	9

3.4	PERFORMANCE OUTSIDE THE UNITED STATES	10

3.5	INTERPRETATION OF TERMS AND PHRASES	10

4.0	REQUIREMENTS	10

4.1	PRICING	10

4.2	PRODUCT IDENTIFICATION	10

4.3	TRANSPORTATION AND IDENTIFICATION	11

4.4	DELIVERY AND INSTALLTION	11

4.5	AUTHORIZED RESELLER	11

4.6	WARRANTY	11

4.7	DESCRIPTIVE LITERATURE	11

4.8	HUB PARTICIPATION	12

4.9	REFERENCES	12

4.10	VENDOR’S REPRESENTATIONS	12

4.11	AGENCY INSURANCE REQUIREMENTS MODIFICATION	12

4.12	LOBBYING ACTIVITY CERTIFICATION FOR FEDERAL GRANTS	12

4.11	VENDOR REQUIREMENTS	12

5.0	SPECIFICATIONS AND SCOPE OF WORK	13

5.1	SPECIFICATIONS	13

5.2	DEVIATIONS	14

6.0	CONTRACT ADMINISTRATION	14

6.1	CUSTOMER SERVICE	14

6.2	 ACCEPTANCE OF WORK	14

6.3	 DISPUTE RESOLUTION	15

6.4	 CONTRACT CHANGES	15

6.5	 ATTACHMENTS	15

6.6	 INVOICES	15

ATTACHMENT A:  PRICING FORM	16

ATTACHMENT D: HUB SUPPLEMENTAL VENDOR INFORMATION	17

ATTACHMENT E: CUSTOMER REFERENCE FORM	19

ATTACHMENT F: LOCATION OF WORKERS UTILIZED BY VENDOR	20

ATTACHMENT G: CERTIFICATION FOR CONTRACTS, GRANTS, LOANS & COOPERATIVE AGREEMENTS	21

ATTACHMENT H: VENDOR REQUEST FOR EO50 PRICE MATCHING	22

ATTACHMENT I: LOCATION MAP	24

# PURPOSE AND BACKGROUND

The purpose of this Invitation for Bids (IFB) is to seek competitive bids from qualified vendors to furnish, deliver, and install metal carport structure for the North Carolina Department of Public Safety, State Highway Patrol Ready Hanger located at 3395 Garner Road, Raleigh, North Carolina.    The carport will be used for department vehicles while they are not being utilized.

Bids shall be submitted in accordance with the terms and conditions of this IFB and any addenda issued hereto.

The intent of this solicitation is to award an Agency Contract

# GENERAL INFORMATION

## INVITATION FOR BID DOCUMENT

This IFB is comprised of the base IFB document, any attachments, and any addenda released before Contract award, which are incorporated herein by reference.

## E-PROCUREMENT FEE

ATTENTION: This is an NC eProcurement solicitation facilitated by the Ariba Network. The E-Procurement fee may apply to this solicitation. See the paragraph entitled ELECTRONIC PROCUREMENT of the North Carolina General Terms and Conditions.

General information on the E-Procurement Services can be found at: http://eprocurement.nc.gov/.

What is the Ariba Network?

The Ariba Network is a web-based platform that serves as a connection point for buyers and vendors. Vendors can log in to the Ariba Network to view purchase orders, respond to electronic requests for quotes, participate in Sourcing Events, and collaborate with buyers on contract documents.

For training on how to use the Sourcing Tool to view solicitations, submit questions, develop responses, upload documents, and submit offers to the State, Vendors should go to the following site:

http://eprocurement.nc.gov/training/vendor-training.

## NOTICE TO VENDORS REGARDING IFB TERMS AND CONDITIONS

It shall be the Vendor’s responsibility to read the Instructions to Vendors, the North Carolina General Terms and Conditions, all relevant exhibits and attachments, and any other components made a part of this IFB and comply with all requirements and specifications herein. Vendors are also responsible for obtaining and complying with all Addenda and other changes that may be issued in connection with this IFB.

If Vendors have questions or issues regarding any component of this IFB, those must be submitted as questions in accordance with the instructions in the BID QUESTIONS Section. If the State determines that any changes will be made as a result of the questions asked, then such decisions will be communicated in the form of an IFB addendum. The State may also elect to leave open the possibility for later negotiation of specific provisions of the Contract that have been addressed during the question-and-answer period, prior to contract award.

Other than through the process of negotiation under 01 NCAC 05B.0503, the State rejects and will not be required to evaluate or consider any additional or modified terms and conditions submitted with Vendor’s bid or otherwise. This applies to any language appearing in or attached to the document as part of the Vendor’s bid that purports to vary any terms and conditions or Vendors’ instructions herein or to render the bid non-binding or subject to further negotiation.  Vendor’s bid shall constitute a firm offer that shall be held open for the period required herein (“Validity Period” above).

The State may exercise its discretion to consider Vendor proposed modifications. By execution and delivery of this IFB Response, the Vendor agrees that any additional or modified terms and conditions, whether submitted purposely or inadvertently, shall have no force or effect, and will be disregarded unless expressly agreed upon during negotiations and incorporated by way of a Best and Final Offer (BAFO). Noncompliance with, or any attempt to alter or delete, this paragraph shall constitute sufficient grounds to reject Vendor’s bid as nonresponsive.

## IFB SCHEDULE

The table below shows the intended schedule for this IFB. The State will make every effort to adhere to this schedule.

| Event | Responsibility | Date and Time |
| --- | --- | --- |
| Issue IFB | State | November 22, 2024 |
| Mandatory Site Visit | State | November 26, 2024 @ 10:00 ET |
| Submit Written Questions | Vendor | November 27, 2024 |
| Provide Response to Questions | State | December 2, 2024 |
| Submit Bids | Vendor | December 5, 2024 @ 2:00 PM ET Microsoft Teams Need help? Join the meeting now Meeting ID: 268 917 551 163 Passcode: mb6mz7eN Dial in by phone +1 984-204-1487,,254884050# United States, Raleigh Find a local number Phone conference ID: 254 884 050# Join on a video conferencing device Tenant key: ncgov@m.webex.com Video ID: 113 964 767 1 More info For organizers: Meeting options ¦ Reset dial-in PIN |
| Contract Award | State | TBD |

## MANDATORY SITE VISIT

Mandatory Site Visit

Date:	 	November 26, 2024

Time:		10:00 AM Eastern Time

Location:	SHP Ready Hanger

3395 Garner Rd

Raleigh NC 27610

Contact #: 	William Fox (919) 407-1850

Instructions: 	It shall be MANDATORY that a representative from each Vendor be present for a pre-bid site visit. Attendees must arrive promptly. All attendees must sign in upon arrival and clearly indicate each prospective Vendor represented on the sign in sheet. LATE ARRIVALS WILL NOT BE ALLOWED TO SIGN IN OR PARTICIPATE IN THE SITE VISIT, NOR SHALL THEIR BID BE CONSIDERED. Once the sign-in process is complete, all other persons wishing to attend may do so to the extent that space and circumstances allow.

FAILURE TO ATTEND THE MANDATORY SITE VISIT SHALL RESULT IN VENDOR’S BID BEING DEEMED NON-RESPONSIVE AND NOT CONSIDERED FOR AWARD.

The purpose of this visit is for all prospective Vendors to apprise themselves of the conditions and requirements which will affect the performance of the work called for by this IFB. Vendors must stay for the duration of the site visit No allowances will be made for unreported conditions that a prudent Vendor would recognize as affecting the work called for or implied by this IFB.

Vendors are cautioned that any information released to attendees during the site visit, other than that involving the physical aspects of the facility referenced above, and which conflicts with, supersedes, or adds to requirements in this IFB, must be confirmed by written addendum before it can be considered to be a part of this IFB and any resulting contract.

## BID QUESTIONS

Upon review of the IFB documents, Vendors may have questions to clarify or interpret the IFB in order to submit the best bid possible. To accommodate the Bid Questions process, Vendors shall submit any such questions by the “Submit Written Questions” date and time provided in the IFB SCHEDULE Section above, unless modified by Addendum.

Questions related to the content of the solicitation, or the procurement process should be directed to the person on the title page of this document via the Sourcing Tool's message board by the date and time specified in the IFB SCHEDULE Section of this IFB. Vendors will enter “IFB # 19-IFB-1352603651-HDE – Questions” as the subject of the message. Question submittals should include a reference to the applicable IFB section. This is the only manner in which questions will be received.

Questions or issues related to using the Sourcing Tool itself can be directed to the North Carolina eProcurement Help Desk at 888-211-7440, Option 2. Help Desk representatives are available Monday through Friday from 7:30 AM ET to 5:00 PM ET.

Questions received prior to the submission deadline date, the State’s response, and any additional terms deemed necessary by the State will be posted in the Sourcing Tool in the form of an addendum and shall become an Addendum to this IFB. No information, instruction or advice provided orally or informally by any State personnel, whether made in response to a question or otherwise in connection with this IFB, shall be considered authoritative or binding. Vendors shall rely only on written material contained in the IFB and an addendum to this IFB.

## BID SUBMITTAL

IMPORTANT NOTE: This is an absolute requirement.  Late bids, regardless of cause, will not be opened or considered, and will be automatically disqualified from further consideration. Vendor shall bear the sole risk of late submission due to unintended or unanticipated delay. It is the Vendor’s sole responsibility to ensure its bid has been received as described in this IFB by the specified time and date of opening. Failure to submit a bid in strict accordance with instructions provided shall constitute sufficient cause to reject a Vendor’s bids(s). Solicitation responses are subject to Sealed Bidding requirements.

Vendor’s bids for this procurement must be submitted through the Sourcing Tool. For training on how to use the Sourcing Tool to view solicitations, submit questions, develop responses, upload documents, and submit offers to the State, Vendors should go to the following site: https://eprocurement.nc.gov/training/vendor-training

Questions or issues related to using the Sourcing Tool itself can be directed to the North Carolina eProcurement Help Desk at 888-211-7440, Option 2. Help Desk representatives are available Monday through Friday from 7:30 AM EST to 5:00 PM EST.

Tips for Using the Sourcing Tool

- Vendors should review available training and confirm that they are able to access the Sourcing Event, enter responses, and upload files well in advance of the date and time response are due to allow sufficient time to seek assistance from the North Carolina eProcurement Help Desk.

- Vendors may submit their responses early to make sure there are no issues, and then submit a revised response any time prior to the response due date and time. The State will only review the most recent response.

- Vendors should respond to all relevant sections of the Sourcing Event. Certain questions or items are required in order to submit a response and are denoted with an asterisk. The Sourcing Tool will not allow a response to be submitted unless all required items are completed. The Sourcing Tool will provide error messages to help identify any required information that is missing when response is submitted.

- Simply saving your response in the Sourcing Tool is not the same as submitting your response to the State. Vendors should make sure they complete the submission process and receive a message that their response was successfully submitted.

- Only Bids submitted through the Content Section of the Ariba Sourcing Event will be considered. Bids submitted through the Message Board will not be accepted or considered for award.

If confidential and proprietary information is included in the bid, also submit one (1) signed, REDACTED copy of the bid. Such information may include trade secrets defined by N.C. Gen. Stat. § 66-152 and other information exempted from the Public Records Act pursuant to N.C. Gen. Stat. §132- 1.2. Vendor may designate information, Products, Services, or appropriate portions of its response as confidential, consistent with and to the extent permitted under the statutes and rules set forth above. By so redacting any page, or portion of a page, the Vendor warrants that it has formed a good faith opinion, having received such necessary or proper review by counsel and other knowledgeable advisors, that the portions determined to be confidential and proprietary and redacted as such, meet the requirements of the Rules and Statutes set forth above. However, under no circumstances shall price information be designated as confidential.

If the Vendor does not provide a redacted version of the bid with its bid submission, the Department may release an unredacted version if a record request is received.

## BID CONTENTS

Vendors shall provide responses to all questions and complete all attachments for this IFB that require the Vendor to provide information and upload them to the Sourcing Event in the Sourcing Tool. Vendor may not be able to submit its response in the Sourcing Tool unless all required items are addressed. Vendors shall provide authorized signatures where requested. Failure to provide all required items, or Vendor’s submission of incomplete items, may result in the State rejecting Vendor’s bid, in the State’s sole discretion.

Vendors shall upload the following items and attachments in the Sourcing Tool:

- Title Page: Include the company name, address, phone number and authorized representative along with the Bid Number.

- Completed and signed version of all EXECUTION PAGES, along with the body of the IFB.

- Signed receipt pages of any addenda released in conjunction with this IFB, if required to be returned.

- Vendor’s Response

- Completed version of ATTACHMENT A: PRICING FORM

- Completed and signed version of ATTACHMENT D: HUB SUPPLEMENTAL VENDOR INFORMATION

- Completed and signed version of ATTACHMENT E: CUSTOMER REFERENCE FORM

- Completed and signed version of ATTACHMENT F: LOCATION OF WORKERS UTILIZED BY VENDOR

- Completed and signed version of ATTACHMENT G: Completed and signed version of CERTIFICATION FOR CONTRACTS, GRANTS, LOANS, AND COOPERATIVE AGREEMENTS and OMB STANDARD FORM LLL

- Completed and signed version of ATTACHMENT H: VENDOR REQUEST FOR EO50 PRICE MATCHING

- ATTACHMENT I: LOCATION MAP

## ALTERNATE BIDS

Unless provided otherwise in this IFB, Vendor may submit alternate bids for comparable Goods, various methods or levels of Service(s), or that propose different options. Alternate bid must specifically identify the IFB requirements and advantage(s) addressed by the alternate bid. Each bid must be for a specific set of Goods and Services and must include specific pricing. If a Vendor chooses to respond with various offerings, Vendor shall follow the specific instructions for uploading Alternate Bids in the Sourcing Tool.

## DEFINITIONS, ACRONYMS, AND ABBREVIATIONS

Relevant definitions for this IFB are provided in 01 NCAC 05A .0112 and in the Instructions to Vendors found in the Sourcing Tool, which are incorporated herein by this reference.

The following definitions, acronyms, and abbreviations are also relevant to this IFB:

# METHOD OF AWARD AND BID EVALUATION PROCESS

## METHOD OF AWARD

North Carolina G.S. 143-52 provides a general list of criteria the State shall use to award contracts, as supplemented by the additional criteria herein. The Goods or Services being procured shall dictate the application and order of criteria; however, all award decisions shall be in the State’s best interest.

All responsive bids will be reviewed, and an award or awards will be based on the responsive bid(s) offering the lowest price that meets the specifications provided herein, to include any required verifications set out here in such as but not limited to past performance, references, and financial documents.

While the intent of this IFB is to award a Contract(s) to a single Vendor, the State reserves the right to make separate awards to different Vendors for one or more line items, to not award one or more line items, or to cancel this IFB in its entirety without awarding a Contract, if it is considered to be most advantageous to the State to do so.

If a Vendor selected for award is determined by the State to be a non-resident of North Carolina, all responsive bids will be reviewed to determine if any of them were submitted by a North Carolina resident Vendor who requested an opportunity to match the price of the winning bid, pursuant to Executive Order #50 and G.S. 143-59 (for more information, please refer to ATTACHMENT H: VENDOR REQUEST FOR EXECUTIVE ORDER #50 PRICE MATCHING.  If such bid(s) are identified, the State will then determine whether any such bid falls within the price-match range, and, if so, make a Contract award in accordance with the process that implements G.S. 143-59 and Executive Order #50.

## CONFIDENTIALITY AND PROHIBITED COMMUNICATIONS DURING EVALUATION

While this IFB is under evaluation, the responding Vendor, including any subcontractors and suppliers, is prohibited from engaging in conversations intended to influence the outcome of the evaluation. See Paragraph 29. of the Instructions to Vendors entitled COMMUNICATOINS BY VENDORS

Each Vendor submitting a bid to this IFB, including its employees, agents, subcontractors, suppliers, subsidiaries and affiliates, is prohibited from having any communications with any person inside or outside the using agency; issuing agency; other government agency office or body (including the purchaser named above, any department secretary, agency head, members of the General Assembly and Governor’s office); or private entity, if the communication refers to the content of Vendor’s bid or qualifications, the content of another Vendor’s proposal, another Vendor’s qualifications or ability to perform a resulting contract, and/or the transmittal of any other communication of information that could be reasonably considered to have the effect of directly or indirectly influencing the evaluation of proposals, the award of a contract, or both.

Any Vendor not in compliance with this provision shall be disqualified from evaluation and award. A Vendor’s proposal may be disqualified if its subcontractor and/or supplier engage in any of the foregoing communications during the time that the procurement is active (i.e., the issuance date of the procurement until the date of contract award or cancellation of the procurement). Only those discussions, communications or transmittals of information authorized or initiated by the issuing agency for this IFB or inquiries directed to the purchaser named in this IFB regarding requirements of the IFB (prior to proposal submission) or the status of the award (after submission) are excepted from this provision.

## BID EVALUATION PROCESS

Only responsive submissions will be evaluated.

The State will conduct an evaluation of responsive Bids, as follows:

Bids will be received according to the method stated in the Bid Submittal section above.

All bids must be received by the issuing agency not later than the date and time specified in the IFB SCHEDULE Section above, unless modified by Addendum. Vendors are cautioned that this is a request for offers, not an offer or request to contract, and the State reserves the unqualified right to reject any and all offers at any time if such rejection is deemed to be in the best interest of the State.

At the date and time provided in the IFB SCHEDULE Section above, unless modified by Addendum, the bids from each responding Vendor will be opened publicly and all offers (except those that have been previously withdrawn, or voided bids) will be tabulated. The tabulation shall be made public at the time it is created.  When negotiations after receipt of bids is authorized pursuant to G.S. 143-49 and 01 NCAC 05B.0503, only the names of offerors and the Goods and Services offered shall be tabulated at the time of opening. Cost and price shall become available for public inspection at the time of the award.  Interested parties are cautioned that these costs and their components are subject to further evaluation for completeness and correctness and therefore may not be an exact indicator of a Vendor’s pricing position.

At their option, the evaluators may request oral presentations or discussions with any or all Vendors for clarification or to amplify the materials presented in any part of the bid.  Vendors are cautioned, however, that the evaluators are not required to request presentations or other clarification—and often do not. Therefore, all bids should be complete and reflect the most favorable terms available from the Vendor. Prices bid cannot be altered or modified as part of a clarification.

Bids will generally be evaluated, based on completeness, content, cost and responsibility of the Vendor to supply the requested Goods and Services.  Specific evaluation criteria are listed in Section 3.1 METHOD OF AWARD.

Upon completion of the evaluation process, the State will make Award(s) based on the evaluation and post the award(s) to the electronic Vendor Portal (eVP), https://evp.nc.gov, under the IFB number for this solicitation.  Award of a Contract to one Vendor does not mean that the other bids lacked merit, but that, all factors considered, the selected bid was deemed most advantageous and represented the best value to the State.

The State reserves the right to negotiate with one or more Vendors, or to reject all original offers and negotiate with one or more sources of supply that may be capable of satisfying the requirement, and in either case to require Vendor to submit a Best and Final Offer (BAFO) based on discussions and negotiations with the State.

## PERFORMANCE OUTSIDE THE UNITED STATES

Vendor shall complete ATTACHMENT F: LOCATION OF WORKERS UTILIZED BY VENDOR.  In addition to any other evaluation criteria identified in this IFB, the State may also consider, for purposes of evaluating proposed or actual contract performance outside of the United States, how that performance may affect the following factors to ensure that any award will be in the best interest of the State:

- Total cost to the State

- Level of quality provided by the Vendor

- Process and performance capability across multiple jurisdictions

- Protection of the State’s information and intellectual property

- Availability of pertinent skills

- Ability to understand the State’s business requirements and internal operational culture

- Particular risk factors such as the security of the State’s information technology

- Relations with citizens and employees

- Contract enforcement jurisdictional issues

## INTERPRETATION OF TERMS AND PHRASES

This IFB serves two functions: (1) to advise potential Vendors of the parameters of the solution being sought by the State; and (2) to provide (together with other specified documents) the terms of the Contract resulting from this procurement. The use of phrases such as “shall,” “must,” and “requirements” are intended to create enforceable contract conditions.  In determining whether bids should be evaluated or rejected, the State will take into consideration the degree to which Vendors have proposed or failed to propose solutions that will satisfy the State’s needs as described in the IFB.  Except as specifically stated in the IFB, no one requirement shall automatically disqualify a Vendor from consideration. However, failure to comply with any single requirement may result in the State exercising its discretion to reject a bid in its entirety.

# REQUIREMENTS

This Section lists the requirements related to this IFB. By submitting a bid, the Vendor agrees to meet all stated requirements in this Section as well as any other specifications, requirements, and terms and conditions stated in this IFB. If a Vendor is unclear about a requirement or specification or believes a change to a requirement would allow for the State to receive a better bid, the Vendor is urged to submit these items in the form of a question during the question-and-answer period in accordance with the Bid Questions Section above.

  - PRICING

Bid price shall constitute the total cost to the State for complete performance in accordance with the requirements and specifications herein, including all applicable charges for handling, transportation, administrative and other similar fees. Complete ATTACHMENT A: PRICING FORM and upload in the Sourcing Tool included in the Sourcing Tool. The pricing provided in ATTACHMENT A, or resulting from any negotiations, is incorporated herein and shall become part of any resulting Contract.

  - PRODUCT IDENTIFICATION

SUITABILITY FOR INTENDED USE

Vendors are requested to offer only items directly complying with the specifications herein or comparable items which will provide the equivalent capabilities, features and diversity called for herein.  The State reserves the right to evaluate all bids for suitability for the required use and to award the one best meeting requirements and considered to be in the State’s best interest.

  - TRANSPORTATION AND IDENTIFICATION

The Vendor shall deliver Free-On-Board (FOB) Destination to any requested location within the State of North Carolina with all transportation costs and fees included in the total bid price.

When an order is placed using a purchase order, the purchase order number shall be shown on all packages and shipping manifests to ensure proper identification and payment of invoices. If an order is placed without using a purchase order, such as via phone, the Buyer’s name shall be show on all packages. A complete packing list shall accompany each shipment. Vendors shall not ship any products until they have received an order.

  - DELIVERY AND INSTALLTION

The Vendor shall deliver Free-On-Board (FOB) Destination to the following location(s):

SITE LOCATION:

North Carolina State Highway Patrol

3395 Garner Road

Raleigh, NC. 27610

Vendor should complete delivery within forty-five (45) consecutive calendar days after receipt of purchase order.

For completion by Vendor:  Delivery will be made from __________________________________________ (city, state) within _____ consecutive calendar days after receipt of purchase order. Promptness of delivery may be used as a factor in the award criteria.

Delivery shall not be considered to have occurred until installation has been completed. Upon completion of the installation, the Vendor shall remove and properly dispose of all waste and debris from the installation site.  The Vendor shall be responsible for leaving the installation area clean and ready to use.

  - AUTHORIZED RESELLER

The Vendor shall be authorized by the manufacturer to distribute or resell the products and/or maintenance offered in this IFB. The Vendor shall provide a signed statement from the manufacturer confirming authorization upon request from the agency. Failure to provide this statement shall constitute sufficient grounds for rejection of Vendor’s offer, at the discretion of the State.

| Vendor is the: | Manufacturer | Dealer | Reseller | Distributor |
| --- | --- | --- | --- | --- |

Authorized:  Yes    No	Attached Manufacturer’s Authority:   Yes     No

  - WARRANTY

Manufacturer’s standard warranty shall apply.  Vendors shall include a copy of the manufacturer’s standard warranty with the bid response.

  - DESCRIPTIVE LITERATURE

Each bid shall be accompanied by complete descriptive literature, specifications, certifications, and all other pertinent data necessary for thorough evaluation of the item(s) offered and sufficient to determine compliance of the item(s) with the specifications.  Failure to include such information shall be a sufficient basis for rejection of the bid, at the discretion of the State.

  - HUB PARTICIPATION

Pursuant to North Carolina General Statute G.S. 143-48, it is State policy to encourage and promote the use of small, minority, physically handicapped, and women contractors in purchasing Goods and Services.  As such, this IFB will serve to identify those Vendors that are minority owned or have a strategic plan to support the State’s Historically Underutilized Business program by meeting or exceeding the goal of 10% utilization of diverse firms as 1st or 2nd tier subcontractors. Vendor shall complete ATTACHMENT D: HUB SUPPLEMENTAL VENDOR INFORMATION.

  - REFERENCES

Vendor shall upload to the Sourcing Tool at least three (3) references, using ATTACHMENT E: CUSTOMER REFERENCE FORM, for which it has provided Services of similar size and scope to those proposed herein. The State shall contact these users to determine whether the Services provided are substantially similar in scope to those proposed herein and whether Vendor’s performance has been satisfactory. The information obtained shall be considered in the evaluation of the Bid.

  - VENDOR’S REPRESENTATIONS

If Vendor’s bid results in an award, Vendor agrees that it will not enter any agreement with a third party that may abridge any rights of the State under the Contract.  If any Services, deliverables, functions, or responsibilities not specifically described in this solicitation are required for Vendor’s proper performance, provision and delivery of the Service and deliverables under a resulting Contract, or are an inherent part of or necessary sub-task included within such Service, they will be deemed to be implied by and included within the scope of the Contract to the same extent and in the same manner as if specifically described in the Contract.  Unless otherwise expressly provided herein, Vendor will furnish all of its own necessary management, supervision, labor, facilities, furniture, computer and telecommunications equipment, software, supplies and materials necessary for the Vendor to provide and deliver the Services and/or other Deliverables.

  - AGENCY INSURANCE REQUIREMENTS MODIFICATION

A. Default Insurance Coverage from the General Terms and Conditions applicable to this Solicitation:

X  Small Purchases

☐  Contract value in excess of the Small Purchase threshold, but up to $1,000,000.00

☐  Contract value in excess of $1,000,000.00

  - LOBBYING ACTIVITY CERTIFICATION FOR FEDERAL GRANTS

Federal law prohibits recipients of federal funds, whether through grants, contracts, or cooperative agreements, from using those funds to influence or attempt to influence (lobby) a federal official in connection with obtaining, extending, or modifying any federal contract, grant, loan, or cooperative agreement. Further, federal law requires that applicants for federal funds certify:

- that they abide by the above restriction;

- that they disclose any permissible (non-federal) paid lobbying on the Federal Awards being applied for; and

- that such certification requirements will also be included in any subawards meeting the applicable thresholds.

Vendors must complete and submit the ATTACHMENT G: CERTIFICATION FOR CONTRACTS, GRANTS, LOANS, AND COOPERATIVE AGREEMENTS and the OMB STANDARD FORM LLL when responding to this solicitation.

- SPECIFICATIONS AND SCOPE OF WORK

- SPECIFICATIONS

The specific items and any specifications that the Purchasing Agency is seeking are listed below. Items offered by the Vendor must meet or exceed the listed Specifications to be considered for award.

|  | VENDOR’S RESPONSE |
| --- | --- |

| Item # | Specifications | Product and Services Offered Meets Specification |
| --- | --- | --- |
| 1 | Gross Footprint: 60ft wide X 100ft longitudinal | YES NO |
| 2 | Eave Height: 12 feet | YES NO |
| 3 | Materials: Aluminum structural frame and metal panels per engineered design. Fasteners, welds, and connections per engineered design. Color will be selected from manufacturer’s standard range. | YES NO |
| 4 | Short Sides: One open to gable above; the other full length metal panel extending downward to ground. | YES NO |
| 5 | Long Sides: Full length metal panel extending downward to ground from eave. | YES NO |
| 6 | Skylights: 2 FT X 6 FT translucent polycarbonate panels with permanent, co-extruded ultraviolet protective layer; opaque white with minimum 45% visible light transmittance; spaced approx. 12 FT on center on either side of roof (14 panels total). | YES NO |
| 7 | Concrete Footings: Per engineered design provided by manufacturer or third-party retained by contractor. Footings shall extend to frost depth and shall not extend above stone pad. | YES NO |
| 8 | Stone Pad: 64 FT X 104 FT 6” deep Crusher Run stone. Compacted and rolled flat. Extents to be 2 FT beyond footprint of Carport. | YES NO |
| 9 | Location: To be staked by owner at 3395 Garner Road, Raleigh, NC 27610 | YES NO |
| 10 | Designed for Risk Category II Wind, Snow, and Seismic Loads applicable to the location and in accordance with the NC Building Code 2018 edition with Amendments. | YES NO |
| 11 | Contractor shall be licensed as a North Carolina General Contractor with Building Classification and License Limitation of Limited or greater. | YES NO |
| 12 | Contractor to provide complete construction. Drawings shall depict all elements required for a complete installation. | YES NO |
| 13 | Contractor to submit engineered construction drawings to the State Construction Office for approval prior to construction | YES NO |
| 14 | Contractor to provide third-party inspection and approval of installation by a Professional Engineer licensed to practice in the State of North Carolina | YES NO |

- DEVIATIONS

The nature of all deviations from the Specifications listed herein shall be clearly described by the Vendor.  Otherwise, it will be considered that items offered by the Vendor are in strict compliance with the Specifications provided herein, and the successful Vendor shall be required to supply conforming goods and/or services.  Deviations shall be explained in detail on an attached sheet.  However, no implication is made or intended by the State that any deviation will be acceptable.  Do not list objections to the North Carolina General Terms and Conditions in this section.

___________________________________________________________________________________________

___________________________________________________________________________________________

___________________________________________________________________________________________

# CONTRACT ADMINISTRATION

All Contract Administration requirements are conditioned on an award resulting from this solicitation. This information is provided for the Vendor’s planning purposes.

## 6.1	CUSTOMER SERVICE

The Vendor shall be required to designate and make available to the State for customer service.  The customer service point of contact shall be the State’s point of contact for customer service-related issues for example: delivery, installation, work delays, etc.

| Customer Service Point of Contact |  |
| --- | --- |
| Name: |  |
| Office Phone #: |  |
| Mobile Phone #: |  |
| Email: |  |

6.2	 ACCEPTANCE OF WORK

Performance of the work and/or delivery of Goods shall be conducted and completed at least in accordance with the Contract requirements and recognized and customarily accepted industry practices. Performance shall be considered complete when the Services or Goods are approved as acceptable by the Contract Administrator.

The State shall have the obligation to notify Vendor, in writing ten (10) calendar days following completion of such work or delivery of a deliverable described in the Contract that it is not acceptable.  The notice shall specify in reasonable detail the reason(s) it is unacceptable.  Acceptance by the State shall not be unreasonably withheld; but may be conditioned or delayed as required for reasonable review, evaluation, installation, or testing, as applicable to the work or deliverable.  Final acceptance is expressly conditioned upon completion of all applicable assessment procedures.  Should the work or deliverables fail to meet any specifications, acceptance criteria or otherwise fail to conform to the Contract, the State may exercise any and all rights hereunder, including, for Goods deliverables, such rights provided by the Uniform Commercial Code, as adopted in North Carolina.

6.3	 DISPUTE RESOLUTION

During the performance of the Contract, the parties agree that it is in their mutual interest to resolve disputes informally.  Any claims by the Vendor shall be submitted in writing to the State’s Contract Manager for resolution. Any claims by the State shall be submitted in writing to the Vendor’s Project Manager for resolution. The Parties shall agree to negotiate in good faith and use all reasonable efforts to resolve such dispute(s).

During the time the Parties are attempting to resolve any dispute, each shall proceed diligently to perform their respective duties and responsibilities under this Contract.  The Parties will agree on a reasonable amount of time to resolve a dispute.  If a dispute cannot be resolved between the Parties within the agreed upon period, either Party may elect to exercise any other remedies available under the Contract, or at law.  This provision, when agreed in the Contract, shall not constitute an agreement by either party to mediate or arbitrate any dispute.

6.4	 CONTRACT CHANGES

Contract changes, if any, over the life of the Contract shall be implemented by contract amendments agreed to in writing by the State and Vendor. Amendments to the contract can only be done through the contract administrator.

6.5	 ATTACHMENTS

All attachments to this IFB are incorporated herein and shall be submitted by responding in the Sourcing Tool. These attachments can be found at the following Vendor Forms link for reference purposes only:

https://ncadmin.nc.gov/documents/vendor-forms

6.6	 INVOICES

Vendor shall invoice the Purchasing Agency. The standard format for invoicing shall be Single Invoices meaning that the Vendor shall provide the Purchasing Agency with an invoice for each order. Invoices shall include detailed line item information to allow Purchasing Agency to verify pricing at point of receipt matches the correct price from the original date of order.  At a minimum, the following fields shall be included on all invoices:

Vendor’s Billing Address, Customer Account Number, NC Contract Number, Order Date, Buyer’s Order Number, Manufacturer Part Numbers, Vendor Part Numbers, Item Descriptions, Price, Quantity, and Unit of Measure.

INVOICES MAY NOT BE PAID UNTIL AN INSPECTION HAS OCCURRED AND THE GOODS ACCEPTED.

# ATTACHMENT A:  PRICING FORM

Vendor shall furnish all necessary parts, labor, transportation, equipment, tools, materials and supplies as may be required to furnish, deliver, install and set-in place, ready for owner’s use Commercial Carport in accordance with the terms and conditions and specifications fully incorporated herein.

| QTY | UOM | DESCRIPTION | TOTAL | EXTENDED TOTAL |
| --- | --- | --- | --- | --- |
| 1 | Lot | Materials per Section 5.1 Make _____________________ Model_____________________ | $ | $ |
| 1 | Lot | Labor per Section 5.1 | $ | $ |

Total Bid Amount $ ________________________

See Attachment I for drawing.

# ATTACHMENT D: HUB SUPPLEMENTAL VENDOR INFORMATION

Solicitation #:   	_

Vendor Name:	_

Historically Underutilized Businesses (HUBs) consist of minority, women, and disabled business firms that are at least fifty-one percent owned and operated by an individual(s) from one of these categories. Also included in this category are disabled business enterprises and non-profit work centers for the blind and severely disabled.

Pursuant to G.S. 143B-1361(a), 143-48 and 143-128.4, the State invites and encourages participation in this procurement process by businesses owned by minorities, women, the disable, disabled business enterprises, and non-profit work centers for the blind and severely disabled. This includes utilizing individual(s) from these categories as subcontractors to perform the functions required in this Solicitation.

The Vendor shall respond to questions below, as applicable.

PART I: HUB CERTIFICATION

Is Vendor a NC-certified HUB entity?  Yes 	 No

If yes, provide Vendor #: _	_

If no, does Vendor qualify for certification as HUB?          Yes         No

Vendors that check “yes” will be referred to the HUB Office for assistance in acquiring certification.

PART II: PROCUREMENT OF GOODS - SUPPLIERS

For Goods procurements, are you using Tier 2 suppliers?  Yes	No

If yes, then provide the following information:

| Company Name | Company Address | Website Address | Contact Name | Contact Email | Contact Phone | NC HUB certified? | Percent of total bid price |
| --- | --- | --- | --- | --- | --- | --- | --- |

PART III: PROCUREMENT OF SERVICES – SUBCONTRACTORS

For Services procurements, are you using Subcontractors to perform any of the services being procured under this solicitation?	Yes No

| Company Name | Company Address | Website Address | Contact Name | Contact Email | Contact Phone | NC HUB certified? | Percent of total bid price |
| --- | --- | --- | --- | --- | --- | --- | --- |

Need more information?

Questions concerning the completion of this form should be presented during the Q&A period through the process defined in the Solicitation document.

Questions  concerning  NC  HUB  certification,  contact  the  North  Carolina  Office  of  Historically  Underutilized Businesses at 984-236-0130 or huboffice.doa@doa.nc.gov

# ATTACHMENT E: CUSTOMER REFERENCE FORM

Solicitation #:  ____________________________

Vendor Name:  ___________________________

Instructions: Vendor shall use this template to submit three (3) customer references with its offer.

| Name of Customer Organization: |  |
| --- | --- |
| Customer Reference Name: |  |
| Customer Reference Address: |  |
| Customer Reference Email: |  |
| Start Date: |  |
| End Date: |  |
| Explanation of contract, service agreement, or type of products and quantity provided to the organization: |  |

| Name of Customer Organization: |  |
| --- | --- |
| Customer Reference Name: |  |
| Customer Reference Address: |  |
| Customer Reference Email: |  |
| Start Date: |  |
| End Date: |  |
| Explanation of contract, service agreement, or type of products and quantity provided to the organization: |  |

| Name of Customer Organization: |  |
| --- | --- |
| Customer Reference Name: |  |
| Customer Reference Address: |  |
| Customer Reference Email: |  |
| Start Date: |  |
| End Date: |  |
| Explanation of contract, service agreement, or type of products and quantity provided to the organization: |  |

# ATTACHMENT F: LOCATION OF WORKERS UTILIZED BY VENDOR

Solicitation #:		_

Vendor Name:	_

In accordance with NC General Statute G.S. 143-59.4, Vendor shall detail the location(s) at which performance will occur, as well as the manner in which it intends to utilize resources or workers outside of the United States in the performance of The Contract.

Vendor shall complete items 1 and 2 below.

- Will any work under this Contract be performed outside of the United States?          YES   NO

If “YES”:

  - List the location(s) outside of the United States where work under the Contract will be

performed by the Vendor, any subcontractors, employees, or any other persons performing work under the Contract.

  - Specify the manner in which the resources or workers will be utilized:

- Where within the United States will work be performed?

_	_

NOTES:

- The State will evaluate the additional risks, costs, and other factors associated with the utilization of workers outside of the United States prior to making an award.

- Vendor shall provide notice in writing to the State of the relocation of the Vendor, employees of the Vendor, subcontractors of the Vendor, or other persons performing services under the Contract to a location outside of the United States.

- All Vendor or subcontractor personnel providing call or contact center services to the State of North Carolina under the Contract shall disclose to inbound callers the location from which the call or contact center services are being provided.

# ATTACHMENT G: CERTIFICATION FOR CONTRACTS, GRANTS, LOANS & COOPERATIVE AGREEMENTS

Certification for Contracts, Grants, Loans, and Cooperative Agreements

The undersigned certifies, to the best of his or her knowledge and belief, that:

No Federal appropriated funds have been paid or will be paid, by or on behalf of the undersigned, to any person for influencing or attempting to influence an officer or employee of an agency, a Member of Congress, an officer or employee of Congress, or an employee of a Member of Congress in connection with the awarding of any Federal Contract, the making of any Federal grant, the making of any Federal loan, the entering into of any cooperative agreement, and the extension, continuation, renewal, amendment, or modification of any Federal Contract, grant, loan, or cooperative agreement.

If any funds other than Federal appropriated funds have been paid or will be paid to any person for influencing or attempting to influence an officer or employee of any agency, a Member of Congress, an officer or employee of Congress, or an employee of a Member of Congress in connection with this Federal Contract, grant, loan, or cooperative agreement, the undersigned shall complete and submit Standard Form-LLL, “Disclosure Form to Report Lobbying,” in accordance with its instructions.

The undersigned shall require that the language of this certification be included in the award documents for all subawards at all tiers (including subContracts, subgrants, and Contracts under grants, loans, and cooperative agreements) and that all subrecipients shall certify and disclose accordingly.

This certification is a material representation of fact upon which reliance was placed when this transaction was made or entered into. Submission of this certification is a prerequisite for making or entering into this transaction imposed by section 1352, title 31, U.S. Code. Any person who fails to file the required certification shall be subject to a civil penalty of not less than $10,000 and not more than $100,000 for each such failure.

The Vendor,        , certifies or affirms the truthfulness and accuracy of each statement of its certification and disclosure, if any. In addition, the Vendor understands and agrees that the provisions of 31 U.S.C. Chap. 38, Administrative Remedies for False Claims and Statements, apply to this certification and disclosure, if any.

________________________________________

Signature of Vendor’s Authorized Official

____________________________________

Name and Title of Vendor’s Authorized Official

__________________________

Date

# ATTACHMENT H: VENDOR REQUEST FOR EO50 PRICE MATCHING

Solicitation #:		_

Vendor Name:                	_

Pursuant to G.S. 143-59 and Executive Order No. 50 (2010), a North Carolina resident Vendor may receive the opportunity to obtain a contract award by agreeing to match the final price(s) of the lowest Vendor, if the lowest price is offered by a non-resident Vendor. This opportunity arises when a North Carolina resident Vendor offers a price that is within five percent (5%) or $10,000 (whichever is less) of the non-resident Vendor’s overall lowest price. Requesting a price matching opportunity below does not require a resident Vendor to match the lowest price in the event the Vendor qualifies for the opportunity.

The following sections shall be completed if a resident Vendor is requesting a price matching opportunity:

PART I – EO50: Resident Bidder Determination

Vendor shall check the applicable boxes below. In order to be considered for the price-matching opportunity under Executive Order #50 and G.S. 143-59(c)(1), Vendor must meet the definition of a “Resident Bidder.”

By submitting this form, the Vendor certifies that:

it has paid unemployment taxes to the State of North Carolina for the most recent quarter or annually and has specifically done so for the last such payment period.

it has paid income taxes to the State of North Carolina each calendar quarter, or otherwise annually, and has specifically done so for the last such payment period.

PART II – EO50

I certify that the Vendor’s principal place of business is located in North Carolina. Principal place of business is defined as the principal place from which the trade or business of the Vendor is directed or managed.

- Provide address of principal place of business:

_ 	 Street Address (no P.O. Box number)

_ 	 City, State, Zip Code

Is the above address the location of Vendor’s overall headquarters?	YES	NO

If Vendor has a public website, provide the link/address:

B.	ATTACH A COPY OF VENDOR’S MOST RECENT FILINGS WITH THE NORTH CAROLINA    SECRETARY OF STATE (such as Vendor’s Certificate of Authority, Annual Report or such other filing that discloses a North Carolina business address for the Vendor).

OR (check the box below)

Vendor certifies that its business is not required to make filings with the North Carolina Secretary of State.

If the box is checked, state the reason why no filings are required:

.

NOTICE: The Price Matching Opportunity will only be given to a Vendor that fully completes this attachment (i.e., all information shall be provided, all supporting documents shall be attached, and signature from an authorized representative of the Vendor shall be provided) and demonstrates its qualification for the Price Matching Opportunity. A certification shall be submitted with each bid for which Vendor seeks a price matching opportunity.

Certification of ____________________________________________________(name of resident Vendor).

The undersigned hereby certifies that he or she has read this certification, that all information provided in Part I and Part II above is true and accurate and that he or she is an officer, member, partner, owner, or other such managing employee of the Vendor (the “Authorized Representative”) that is authorized to execute this certification and to bind the Vendor to the certifications, statements, and agreements herein.

Name of Authorized Representative:

Signature:

Title:			 	  Date:

# ATTACHMENT I: LOCATION MAP